## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: BOQ for Renovation of Warden Quarter no. 2 Rajputana Hostel, IIT(BHU)
Contract No: IIT(BHU)/IWD/CT-26/2022-23/603 Dated 21.07.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per directions of Engineer-In-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) (14.1.1) | BI01010001010000000000000515BI0100001113 | 5 | sqm | 417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2089 | 2089 | INR Two Thousand &Eighty Nine Only | 1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per directions of Engineer-In-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) (14.1.1) | BI01010001010000000000000515BI0100001113 | 5 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001114 | 1 | Cum | 1737.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1737.45 | 1737.45 | INR One Thousand Seven Hundred & Thirty Seven and Paise Forty Five Only | 2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001114 | 1 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001115 | 1 | Cum | 1469.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1469.9 | 1469.9 | INR One Thousand Four Hundred & Sixty Nine and Paise Ninety Only | 3 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001115 | 1 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001116 | 1 | sqm | 932.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 932.1 | 932.1 | INR Nine Hundred & Thirty Two and Paise Ten Only | 4 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001116 | 1 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). (5.3) | BI01010001010000000000000515BI0100001117 | 0.5 | Cum | 9763.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4881.9 | 4881.9 | INR Four Thousand Eight Hundred & Eighty One and Paise Ninety Only | 5 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). (5.3) | BI01010001010000000000000515BI0100001117 | 0.5 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. (5.22.6) | BI01010001010000000000000515BI0100001118 | 50 | kg | 83.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4175 | 4175 | INR Four Thousand One Hundred & Seventy Five Only | 6 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. (5.22.6) | BI01010001010000000000000515BI0100001118 | 50 | kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform. (5.9.3) | BI01010001010000000000000515BI0100001119 | 3 | sqm | 693.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2079.15 | 2079.15 | INR Two Thousand &Seventy Nine and Paise Fifteen Only | 7 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform. (5.9.3) | BI01010001010000000000000515BI0100001119 | 3 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Providing and fixing 18mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 Cement : 4 coarse sand) with joints treated with white cement ,mixed with matching pigment, epoxy touch ups, including rubbing ,curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm (8.2.2.2) | BI01010001010000000000000515BI0100001120 | 2 | sqm | 4007.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8015.3 | 8015.3 | INR Eight Thousand &Fifteen and Paise Thirty Only | 8 | Providing and fixing 18mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 Cement : 4 coarse sand) with joints treated with white cement ,mixed with matching pigment, epoxy touch ups, including rubbing ,curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm (8.2.2.2) | BI01010001010000000000000515BI0100001120 | 2 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001121 | 50 | sqm | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1950 | 1950 | INR One Thousand Nine Hundred & Fifty Only | 9 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001121 | 50 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 coarse sand) (13.4.2) | BI01010001010000000000000515BI0100001122 | 50 | sqm | 263.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13177.5 | 13177.5 | INR Thirteen Thousand One Hundred & Seventy Seven and Paise Fifty Only | 10 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 coarse sand) (13.4.2) | BI01010001010000000000000515BI0100001122 | 50 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) (4.1.3) | BI01010001010000000000000515BI0100001123 | 1 | Cum | 6788.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6788.6 | 6788.6 | INR Six Thousand Seven Hundred & Eighty Eight and Paise Sixty Only | 11 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) (4.1.3) | BI01010001010000000000000515BI0100001123 | 1 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing and fixing soil, waste and vent pipes : 100 mm dia. Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) | BI01010001010000000000000515BI0100001124 | 3 | Meter | 1092.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3276.6 | 3276.6 | INR Three Thousand Two Hundred & Seventy Six and Paise Sixty Only | 12 | Providing and fixing soil, waste and vent pipes : 100 mm dia. Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) | BI01010001010000000000000515BI0100001124 | 3 | Meter | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: 100 mm (17.58.1) | BI01010001010000000000000515BI0100001125 | 6 | Nos | 481.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2888.7 | 2888.7 | INR Two Thousand Eight Hundred & Eighty Eight and Paise Seventy Only | 13 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: 100 mm (17.58.1) | BI01010001010000000000000515BI0100001125 | 6 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Providing and fixing collar : 100 mm Sand cast iron S&S as per IS - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001126 | 1 | Nos | 409.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 409.45 | 409.45 | INR Four Hundred & Nine and Paise Forty Five Only | 14 | Providing and fixing collar : 100 mm Sand cast iron S&S as per IS - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001126 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm Sand cast iron S&S as per IS:- 3989 (17.38.1.2) | BI01010001010000000000000515BI0100001127 | 1 | Nos | 461.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 461.65 | 461.65 | INR Four Hundred & Sixty One and Paise Sixty Five Only | 15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm Sand cast iron S&S as per IS:- 3989 (17.38.1.2) | BI01010001010000000000000515BI0100001127 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Providing and fixing plain bend of required degree. 100 mm Sand cast iron S&S as per IS: - 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001128 | 1 | Nos | 390.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 390.75 | 390.75 | INR Three Hundred & Ninety and Paise Seventy Five Only | 16 | Providing and fixing plain bend of required degree. 100 mm Sand cast iron S&S as per IS: - 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001128 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Providing and fixing single equal plain junction of required degree. 100x100x100mm Sand cast iron S&S as per IS: - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001129 | 1 | Nos | 667.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 667.7 | 667.7 | INR Six Hundred & Sixty Seven and Paise Seventy Only | 17 | Providing and fixing single equal plain junction of required degree. 100x100x100mm Sand cast iron S&S as per IS: - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001129 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: - 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001130 | 1 | Nos | 1512.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1512.55 | 1512.55 | INR One Thousand Five Hundred & Twelve and Paise Fifty Five Only | 18 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: - 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001130 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing and fixing 100mm sand cast Iron grating for gully trap.(17.29) | BI01010001010000000000000515BI0100001131 | 2 | Nos | 44.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89.2 | 89.2 | INR Eighty Nine and Paise Twenty Only | 19 | Providing and fixing 100mm sand cast Iron grating for gully trap.(17.29) | BI01010001010000000000000515BI0100001131 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests. (17.1.1) | BI01010001010000000000000515BI0100001132 | 1 | Nos | 5421.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5421.5 | 5421.5 | INR Five Thousand Four Hundred & Twenty One and Paise Fifty Only | 20 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests. (17.1.1) | BI01010001010000000000000515BI0100001132 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001133 | 1 | Nos | 5260.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5260.95 | 5260.95 | INR Five Thousand Two Hundred & Sixty and Paise Ninety Five Only | 21 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001133 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001134 | 1 | Nos | 2751.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2751.3 | 2751.3 | INR Two Thousand Seven Hundred & Fifty One and Paise Thirty Only | 22 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001134 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001135 | 1 | Nos | 87.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 87.7 | 87.7 | INR Eighty Seven and Paise Seventy Only | 23 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001135 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. (17.31) | BI01010001010000000000000515BI0100001136 | 1 | Nos | 1283.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1283.05 | 1283.05 | INR One Thousand Two Hundred & Eighty Three and Paise Five Only | 24 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. (17.31) | BI01010001010000000000000515BI0100001136 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001137 | 1 | Nos | 623.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 623.5 | 623.5 | INR Six Hundred & Twenty Three and Paise Fifty Only | 25 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001137 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall (a) 15mm dia. nominal bore (18.10.1) | BI01010001010000000000000515BI0100001138 | 4 | Meter | 284.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1139.6 | 1139.6 | INR One Thousand One Hundred & Thirty Nine and Paise Sixty Only | 26.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall (a) 15mm dia. nominal bore (18.10.1) | BI01010001010000000000000515BI0100001138 | 4 | Meter | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26.2 | (b) 25mm dia. nominal bore (18.10.3) | BI01010001010000000000000515BI0100001139 | 1 | Meter | 438 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 438 | 438 | INR Four Hundred & Thirty Eight Only | 26.2 | (b) 25mm dia. nominal bore (18.10.3) | BI01010001010000000000000515BI0100001139 | 1 | Meter | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 a) 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001140 | 2 | Nos | 418.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 837.9 | 837.9 | INR Eight Hundred & Thirty Seven and Paise Ninety Only | 27 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 a) 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001140 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 a) 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001141 | 3 | Nos | 606.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1818.75 | 1818.75 | INR One Thousand Eight Hundred & Eighteen and Paise Seventy Five Only | 28 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 a) 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001141 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | BI01010001010000000000000515BI0100001142 | 1 | sqm | 111.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 111.75 | 111.75 | INR One Hundred & Eleven and Paise Seventy Five Only | 29 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | BI01010001010000000000000515BI0100001142 | 1 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | BI01010001010000000000000515BI0100001143 | 4 | sqm | 926.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3707.6 | 3707.6 | INR Three Thousand Seven Hundred & Seven and Paise Sixty Only | 30 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | BI01010001010000000000000515BI0100001143 | 4 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. (13.91) | BI01010001010000000000000515BI0100001144 | 485 | sqm | 18.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8851.25 | 8851.25 | INR Eight Thousand Eight Hundred & Fifty One and Paise Twenty Five Only | 31 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. (13.91) | BI01010001010000000000000515BI0100001144 | 485 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001145 | 485 | sqm | 115.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55847.75 | 55847.75 | INR Fifty Five Thousand Eight Hundred & Forty Seven and Paise Seventy Five Only | 32 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001145 | 485 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade New work (two or more coats) over and including water thinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001146 | 485 | sqm | 153.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 74423.25 | 74423.25 | INR Seventy Four Thousand Four Hundred & Twenty Three and Paise Twenty Five Only | 33 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade New work (two or more coats) over and including water thinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001146 | 485 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Finishing walls with Acrylic Smooth exterior paint of required shade: Old work (One or more coat applied @ 0.90 ltr/10 sqm). (13.111.2) | BI01010001010000000000000515BI0100001147 | 272 | sqm | 67.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18319.2 | 18319.2 | INR Eighteen Thousand Three Hundred & Nineteen and Paise Twenty Only | 34 | Finishing walls with Acrylic Smooth exterior paint of required shade: Old work (One or more coat applied @ 0.90 ltr/10 sqm). (13.111.2) | BI01010001010000000000000515BI0100001147 | 272 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (13.99.1) | BI01010001010000000000000515BI0100001148 | 48 | sqm | 79.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3837.6 | 3837.6 | INR Three Thousand Eight Hundred & Thirty Seven and Paise Sixty Only | 35 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (13.99.1) | BI01010001010000000000000515BI0100001148 | 48 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | Providing and fixing kitchen sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P. brass waste complete, including painting the fittings and brackets, cutting and making good the walls wherever required: White glazed fire clay kitchen sink of size 600x450x 250 mm (17.9.1) | BI01010001010000000000000515BI0100001149 | 1 | Nos | 3163.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3163.25 | 3163.25 | INR Three Thousand One Hundred & Sixty Three and Paise Twenty Five Only | 36 | Providing and fixing kitchen sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P. brass waste complete, including painting the fittings and brackets, cutting and making good the walls wherever required: White glazed fire clay kitchen sink of size 600x450x 250 mm (17.9.1) | BI01010001010000000000000515BI0100001149 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
37 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/ system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge.(22.22A) | BI01010001010000000000000515BI0100001150 | 10 | sqm | 415.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4156.5 | 4156.5 | INR Four Thousand One Hundred & Fifty Six and Paise Fifty Only | 37 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/ system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge.(22.22A) | BI01010001010000000000000515BI0100001150 | 10 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38 | Float glass panes 4 mm thick glass pane (9.7.7.1) | BI01010001010000000000000515BI0100001151 | 1 | sqm | 1792.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1792.55 | 1792.55 | INR One Thousand Seven Hundred & Ninety Two and Paise Fifty Five Only | 38 | Float glass panes 4 mm thick glass pane (9.7.7.1) | BI01010001010000000000000515BI0100001151 | 1 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
39 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average widt of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 2nd class teak wood beading 62X19 mm (9.135.1) | BI01010001010000000000000515BI0100001152 | 4 | sqm | 1353.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5414.4 | 5414.4 | INR Five Thousand Four Hundred & Fourteen and Paise Forty Only | 39 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average widt of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 2nd class teak wood beading 62X19 mm (9.135.1) | BI01010001010000000000000515BI0100001152 | 4 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
40 | Carriage of Malba (approved rate) | BI01010001010000000000000515BI0100001153 | 4 | trip | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1356 | 1356 | INR One Thousand Three Hundred & Fifty Six Only | 40 | Carriage of Malba (approved rate) | BI01010001010000000000000515BI0100001153 | 4 | trip | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 257635.85 | 257635.85 | INR Two Lakh Fifty Seven Thousand Six Hundred & Thirty Five and Paise Eighty Five Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information