## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Construction of 2 nos Tube wells and pipe line connectivity with pump house for hostels, Guest house and Faculty Apartments, IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil (2.28.1) | BI01010001010000000000000515BI0100001113 | 60 | Sqm | 24.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1461 | 1461 | INR One Thousand Four Hundred & Sixty One Only | 1 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil (2.28.1) | BI01010001010000000000000515BI0100001113 | 60 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m All kinds of soil.(2.8.1) | BI01010001010000000000000515BI0100001114 | 34 | Cum | 252.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8578.2 | 8578.2 | INR Eight Thousand Five Hundred & Seventy Eight and Paise Twenty Only | 2 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m All kinds of soil.(2.8.1) | BI01010001010000000000000515BI0100001114 | 34 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | BI01010001010000000000000515BI0100001115 | 6 | Cum | 5789.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34737.6 | 34737.6 | INR Thirty Four Thousand Seven Hundred & Thirty Seven and Paise Sixty Only | 3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | BI01010001010000000000000515BI0100001115 | 6 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work upto plinth level 1:1.5:3 (1 Cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) (5.1.2) | BI01010001010000000000000515BI0100001116 | 7 | cum | 7718.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54027.75 | 54027.75 | INR Fifty Four Thousand &Twenty Seven and Paise Seventy Five Only | 4 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work upto plinth level 1:1.5:3 (1 Cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) (5.1.2) | BI01010001010000000000000515BI0100001116 | 7 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Reinforced cement concrete work in beams, suspended floors, roofs having slope upto 15°, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor five level excluding the cost of centering, shuttering, finishing and reinforcement with (a) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) (5.3) | BI01010001010000000000000515BI0100001117 | 10 | cum | 9763.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 97638 | 97638 | INR Ninety Seven Thousand Six Hundred & Thirty Eight Only | 5 | Reinforced cement concrete work in beams, suspended floors, roofs having slope upto 15°, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor five level excluding the cost of centering, shuttering, finishing and reinforcement with (a) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) (5.3) | BI01010001010000000000000515BI0100001117 | 10 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.1 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete (5.9.1) | BI01010001010000000000000515BI0100001118 | 5 | Sqm | 284.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1424.25 | 1424.25 | INR One Thousand Four Hundred & Twenty Four and Paise Twenty Five Only | 6.1 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete (5.9.1) | BI01010001010000000000000515BI0100001118 | 5 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.2 | Suspended floors, roofs, landings, balconies and access platform (5.9.3) | BI01010001010000000000000515BI0100001119 | 36 | Sqm | 693.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24949.8 | 24949.8 | INR Twenty Four Thousand Nine Hundred & Forty Nine and Paise Eighty Only | 6.2 | Suspended floors, roofs, landings, balconies and access platform (5.9.3) | BI01010001010000000000000515BI0100001119 | 36 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.3 | Lintels, beams, plinth beams, girders, bressumers and cantilevers (5.9.5) | BI01010001010000000000000515BI0100001120 | 40 | Sqm | 552.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22082 | 22082 | INR Twenty Two Thousand &Eighty Two Only | 6.3 | Lintels, beams, plinth beams, girders, bressumers and cantilevers (5.9.5) | BI01010001010000000000000515BI0100001120 | 40 | Sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.4 | Columns, Pillars, Piers, Abutments, Posts and Struts (5.9.6) | BI01010001010000000000000515BI0100001121 | 31 | Sqm | 733.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22744.7 | 22744.7 | INR Twenty Two Thousand Seven Hundred & Forty Four and Paise Seventy Only | 6.4 | Columns, Pillars, Piers, Abutments, Posts and Struts (5.9.6) | BI01010001010000000000000515BI0100001121 | 31 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.5 | Weather shade, Chajjas, corbels etc., including edges (5.9.19) | BI01010001010000000000000515BI0100001122 | 6 | Sqm | 766.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4600.5 | 4600.5 | INR Four Thousand Six Hundred and Paise Fifty Only | 6.5 | Weather shade, Chajjas, corbels etc., including edges (5.9.19) | BI01010001010000000000000515BI0100001122 | 6 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars (5.22A.6) | BI01010001010000000000000515BI0100001123 | 2176 | kg | 83.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 181696 | 181696 | INR One Lakh Eighty One Thousand Six Hundred & Ninety Six Only | 7 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars (5.22A.6) | BI01010001010000000000000515BI0100001123 | 2176 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) (6.1.2) | BI01010001010000000000000515BI0100001124 | 6 | Cum | 6157.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36944.7 | 36944.7 | INR Thirty Six Thousand Nine Hundred & Forty Four and Paise Seventy Only | 8 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) (6.1.2) | BI01010001010000000000000515BI0100001124 | 6 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) (6.4.2) | BI01010001010000000000000515BI0100001125 | 30 | Cum | 7590.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 227713.5 | 227713.5 | INR Two Lakh Twenty Seven Thousand Seven Hundred & Thirteen and Paise Fifty Only | 9 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) (6.4.2) | BI01010001010000000000000515BI0100001125 | 30 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : cement mortar 1:4 (1 cement : 4 coarse sand) (6.12.2) | BI01010001010000000000000515BI0100001126 | 10 | sqm | 773.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7737.5 | 7737.5 | INR Seven Thousand Seven Hundred & Thirty Seven and Paise Fifty Only | 10 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : cement mortar 1:4 (1 cement : 4 coarse sand) (6.12.2) | BI01010001010000000000000515BI0100001126 | 10 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering , lead up to 50m and lift up to 1.5m.(2.25) | BI01010001010000000000000515BI0100001127 | 17 | cum | 219.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3734.05 | 3734.05 | INR Three Thousand Seven Hundred & Thirty Four and Paise Five Only | 11 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering , lead up to 50m and lift up to 1.5m.(2.25) | BI01010001010000000000000515BI0100001127 | 17 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | 15 mm cement plaster on rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) (13.5.2) | BI01010001010000000000000515BI0100001128 | 88 | sqm | 303.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26743.2 | 26743.2 | INR Twenty Six Thousand Seven Hundred & Forty Three and Paise Twenty Only | 12 | 15 mm cement plaster on rough side of single or half brick wall of mix : 1:6 (1 cement: 6 coarse sand) (13.5.2) | BI01010001010000000000000515BI0100001128 | 88 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) (13.4.2) | BI01010001010000000000000515BI0100001129 | 137 | sqm | 263.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36106.35 | 36106.35 | INR Thirty Six Thousand One Hundred & Six and Paise Thirty Five Only | 13 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) (13.4.2) | BI01010001010000000000000515BI0100001129 | 137 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) (13.46.1) | BI01010001010000000000000515BI0100001130 | 137 | sqm | 164.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22563.9 | 22563.9 | INR Twenty Two Thousand Five Hundred & Sixty Three and Paise Ninety Only | 14 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) (13.46.1) | BI01010001010000000000000515BI0100001130 | 137 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001131 | 112 | sqm | 115.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12896.8 | 12896.8 | INR Twelve Thousand Eight Hundred & Ninety Six and Paise Eighty Only | 15 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001131 | 112 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001132 | 112 | sqm | 153.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17186.4 | 17186.4 | INR Seventeen Thousand One Hundred & Eighty Six and Paise Forty Only | 16 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001132 | 112 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including finishing the top smooth. (4.17) | BI01010001010000000000000515BI0100001133 | 34 | Sqm | 614.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20877.7 | 20877.7 | INR Twenty Thousand Eight Hundred & Seventy Seven and Paise Seventy Only | 17 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including finishing the top smooth. (4.17) | BI01010001010000000000000515BI0100001133 | 34 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. (11.5) | BI01010001010000000000000515BI0100001134 | 24 | Sqm | 854.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20503.2 | 20503.2 | INR Twenty Thousand Five Hundred & Three and Paise Twenty Only | 18 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. (11.5) | BI01010001010000000000000515BI0100001134 | 24 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying: (a) after surface preparation, first layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately.For the purpose of measurement the entire treated surface will be measured. (22.6) | BI01010001010000000000000515BI0100001135 | 28 | Sqm | 523.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14645.4 | 14645.4 | INR Fourteen Thousand Six Hundred & Forty Five and Paise Forty Only | 19 | Providing and laying water proofing treatment on roofs of slabs by applying cement slurry mixed with water proofing cement compound consisting of applying: (a) after surface preparation, first layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately.For the purpose of measurement the entire treated surface will be measured. (22.6) | BI01010001010000000000000515BI0100001135 | 28 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.Internal work - Exposed on wall 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001136 | 100 | Mtrs | 284.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28490 | 28490 | INR Twenty Eight Thousand Four Hundred & Ninety Only | 20.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.Internal work - Exposed on wall 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001136 | 100 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20.2 | 25 mm dia nominal bore (18.10.3) | BI01010001010000000000000515BI0100001137 | 25 | Mtrs | 438 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10950 | 10950 | INR Ten Thousand Nine Hundred & Fifty Only | 20.2 | 25 mm dia nominal bore (18.10.3) | BI01010001010000000000000515BI0100001137 | 25 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001138 | 2 | Nos | 418.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 837.9 | 837.9 | INR Eight Hundred & Thirty Seven and Paise Ninety Only | 21 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001138 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001139 | 2 | Nos | 606.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1212.5 | 1212.5 | INR One Thousand Two Hundred & Twelve and Paise Fifty Only | 22 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001139 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001140 | 50 | Sqm | 177.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8857.5 | 8857.5 | INR Eight Thousand Eight Hundred & Fifty Seven and Paise Fifty Only | 23 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001140 | 50 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item.) With float glass panes of 5.50 mm thickness (21.3.2) | BI01010001010000000000000515BI0100001141 | 10 | sqm | 1296.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12964 | 12964 | INR Twelve Thousand Nine Hundred & Sixty Four Only | 24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item.) With float glass panes of 5.50 mm thickness (21.3.2) | BI01010001010000000000000515BI0100001141 | 10 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding (9.48.1) | BI01010001010000000000000515BI0100001142 | 336 | kg | 165.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55540.8 | 55540.8 | INR Fifty Five Thousand Five Hundred & Forty and Paise Eighty Only | 25 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding (9.48.1) | BI01010001010000000000000515BI0100001142 | 336 | kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Providing and fixing on wall face unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. (i) Single socketed pipes 110 mm diameter (12.41.2) | BI01010001010000000000000515BI0100001143 | 10 | metre | 305.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3050.5 | 3050.5 | INR Three Thousand &Fifty and Paise Fifty Only | 26 | Providing and fixing on wall face unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. (i) Single socketed pipes 110 mm diameter (12.41.2) | BI01010001010000000000000515BI0100001143 | 10 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27.1 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Bend 87.5°110 mm (12.42.5.2) | BI01010001010000000000000515BI0100001144 | 4 | Nos. | 129.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 519.4 | 519.4 | INR Five Hundred & Nineteen and Paise Forty Only | 27.1 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised - Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Bend 87.5°110 mm (12.42.5.2) | BI01010001010000000000000515BI0100001144 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27.2 | Shoe (Plain) 110 mm Shoe (12.42.6.2) | BI01010001010000000000000515BI0100001145 | 2 | Nos. | 113.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 227.6 | 227.6 | INR Two Hundred & Twenty Seven and Paise Sixty Only | 27.2 | Shoe (Plain) 110 mm Shoe (12.42.6.2) | BI01010001010000000000000515BI0100001145 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27.3 | Coupler 110 mm (12.42.1.2) | BI01010001010000000000000515BI0100001146 | 4 | Nos. | 117.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 471.2 | 471.2 | INR Four Hundred & Seventy One and Paise Twenty Only | 27.3 | Coupler 110 mm (12.42.1.2) | BI01010001010000000000000515BI0100001146 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter:100 mm (17.59.1) | BI01010001010000000000000515BI0100001147 | 8 | Nos. | 126.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1012 | 1012 | INR One Thousand &Twelve Only | 28 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter:100 mm (17.59.1) | BI01010001010000000000000515BI0100001147 | 8 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces (10.5.1) | BI01010001010000000000000515BI0100001148 | 6 | sqm | 4428.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26568.9 | 26568.9 | INR Twenty Six Thousand Five Hundred & Sixty Eight and Paise Ninety Only | 29 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces (10.5.1) | BI01010001010000000000000515BI0100001148 | 6 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001149 | 137 | Kg | 101.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13939.75 | 13939.75 | INR Thirteen Thousand Nine Hundred & Thirty Nine and Paise Seventy Five Only | 30 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001149 | 137 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. (2.27) | BI01010001010000000000000515BI0100001150 | 12 | Cum | 1953.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23436.6 | 23436.6 | INR Twenty Three Thousand Four Hundred & Thirty Six and Paise Sixty Only | 31 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. (2.27) | BI01010001010000000000000515BI0100001150 | 12 | Cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. (15.60) | BI01010001010000000000000515BI0100001151 | 19 | cum | 138.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2638.15 | 2638.15 | INR Two Thousand Six Hundred & Thirty Eight and Paise Fifteen Only | 32 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. (15.60) | BI01010001010000000000000515BI0100001151 | 19 | cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Drilling of pilot bore 8.5” to 14”with rig machine from ground level (G.L.) to 160 Mtrs. below ground level (B.G.L.) or more. | BI01010001010000000000000515BI0100001152 | 320 | Mtrs. | 1089 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 348480 | 348480 | INR Three Lakh Forty Eight Thousand Four Hundred & Eighty Only | 33 | Drilling of pilot bore 8.5” to 14”with rig machine from ground level (G.L.) to 160 Mtrs. below ground level (B.G.L.) or more. | BI01010001010000000000000515BI0100001152 | 320 | Mtrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Reaming of pilot bore from G.L. to 50Mtrs. B.G.L. 675 mm dia . | BI01010001010000000000000515BI0100001153 | 110 | Mtrs. | 2662 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 292820 | 292820 | INR Two Lakh Ninety Two Thousand Eight Hundred & Twenty Only | 34 | Reaming of pilot bore from G.L. to 50Mtrs. B.G.L. 675 mm dia . | BI01010001010000000000000515BI0100001153 | 110 | Mtrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Reaming of pilot bore from 55 mtrs. B.G.L. to 155Mtrs. B.G.L. or more 450 mm dia . | BI01010001010000000000000515BI0100001154 | 200 | Mtrs. | 2420 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484000 | 484000 | INR Four Lakh Eighty Four Thousand Only | 35 | Reaming of pilot bore from 55 mtrs. B.G.L. to 155Mtrs. B.G.L. or more 450 mm dia . | BI01010001010000000000000515BI0100001154 | 200 | Mtrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36.1 | Supply & lowering/fixing of the following materials including transportation loading/unloading, welding, jointing, painting etc. of the pipe with two coats of black japan paint at site. 14” ERW M.S. 6mm thick blind pipe plain ended Tata/jindal/QST make | BI01010001010000000000000515BI0100001155 | 100 | Mtrs. | 4719 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 471900 | 471900 | INR Four Lakh Seventy One Thousand Nine Hundred Only | 36.1 | Supply & lowering/fixing of the following materials including transportation loading/unloading, welding, jointing, painting etc. of the pipe with two coats of black japan paint at site. 14” ERW M.S. 6mm thick blind pipe plain ended Tata/jindal/QST make | BI01010001010000000000000515BI0100001155 | 100 | Mtrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36.2 | 8” ERW M.S. 6mm thick blind pipe plain ended Tata/jindal/QST make | BI01010001010000000000000515BI0100001156 | 100 | Mtrs. | 2783 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 278300 | 278300 | INR Two Lakh Seventy Eight Thousand Three Hundred Only | 36.2 | 8” ERW M.S. 6mm thick blind pipe plain ended Tata/jindal/QST make | BI01010001010000000000000515BI0100001156 | 100 | Mtrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36.3 | 8” ERW M.S. 6mm thick slotted pipe plain ended with slot size 3”x 1/16” / 3”x3/64” Tata/jindal/QST make as per site requirement. | BI01010001010000000000000515BI0100001157 | 100 | Mtrs. | 3993 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 399300 | 399300 | INR Three Lakh Ninety Nine Thousand Three Hundred Only | 36.3 | 8” ERW M.S. 6mm thick slotted pipe plain ended with slot size 3”x 1/16” / 3”x3/64” Tata/jindal/QST make as per site requirement. | BI01010001010000000000000515BI0100001157 | 100 | Mtrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36.4 | Tubewell accessories such as well cap, well clamp, well plug, M.S.ring, centre guide, reducer etc as per specification given below. | BI01010001010000000000000515BI0100001158 | 2 | Set. | 60500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 121000 | 121000 | INR One Lakh Twenty One Thousand Only | 36.4 | Tubewell accessories such as well cap, well clamp, well plug, M.S.ring, centre guide, reducer etc as per specification given below. | BI01010001010000000000000515BI0100001158 | 2 | Set. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
37 | Supply & Shrouding of Lal Kuan pea gravel duly screened & washed-Size 1/16” to 3/16” | BI01010001010000000000000515BI0100001159 | 90 | Cum | 8470 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 762300 | 762300 | INR Seven Lakh Sixty Two Thousand Three Hundred Only | 37 | Supply & Shrouding of Lal Kuan pea gravel duly screened & washed-Size 1/16” to 3/16” | BI01010001010000000000000515BI0100001159 | 90 | Cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38.1 | Development of tubewell air compressor 250/350 PSI capacity as per site requirement. For a period upto 50 HRS.. | BI01010001010000000000000515BI0100001160 | 100 | Hrs. | 4235 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 423500 | 423500 | INR Four Lakh Twenty Three Thousand Five Hundred Only | 38.1 | Development of tubewell air compressor 250/350 PSI capacity as per site requirement. For a period upto 50 HRS.. | BI01010001010000000000000515BI0100001160 | 100 | Hrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38.2 | Additional period beyond 50 HRS. But up to 75 HRS. | BI01010001010000000000000515BI0100001161 | 50 | Hrs. | 4000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 200000 | 200000 | INR Two Lakh Only | 38.2 | Additional period beyond 50 HRS. But up to 75 HRS. | BI01010001010000000000000515BI0100001161 | 50 | Hrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
39.1 | Development of tube well by O.P. unit of 4 cusec capacity. For a period upto 50 HRS. | BI01010001010000000000000515BI0100001162 | 100 | Hrs. | 1815 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 181500 | 181500 | INR One Lakh Eighty One Thousand Five Hundred Only | 39.1 | Development of tube well by O.P. unit of 4 cusec capacity. For a period upto 50 HRS. | BI01010001010000000000000515BI0100001162 | 100 | Hrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
39.2 | Additional period beyond 50 HRS. But up to 75 HRS. | BI01010001010000000000000515BI0100001163 | 50 | Hrs. | 1210 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60500 | 60500 | INR Sixty Thousand Five Hundred Only | 39.2 | Additional period beyond 50 HRS. But up to 75 HRS. | BI01010001010000000000000515BI0100001163 | 50 | Hrs. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
40 | Conducting geophysical well logging of borehole drilled including submitting the report complete as per direction of Engineer incharge. | BI01010001010000000000000515BI0100001164 | 2 | Job | 30000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60000 | 60000 | INR Sixty Thousand Only | 40 | Conducting geophysical well logging of borehole drilled including submitting the report complete as per direction of Engineer incharge. | BI01010001010000000000000515BI0100001164 | 2 | Job | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
41 | Supply and filling of chopan/ganga sand in existing defunct tube well. | BI01010001010000000000000515BI0100001165 | 2 | Job | 20000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40000 | 40000 | INR Forty Thousand Only | 41 | Supply and filling of chopan/ganga sand in existing defunct tube well. | BI01010001010000000000000515BI0100001165 | 2 | Job | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Supply and installation of 6” M.S. column pipe with welded flange C -(Heavy) class pipe of 150mm NB Tata/QST/Jindal make for submersible pump.Wall thickness of pipe -5.4mm, Length-3.0 Mtrs. Flange O.D,P.C.D.,Hole dia as per I.S.Standard Flange Thickness-16 mm Note-1-There will be grooving in each flange for submersible cable. 2-4 Nos. M.S. triangular clit should be welded in each flange. 3- Flange should be welded in right angle 4-Each column pipe should be painted by anticorrosive black paint after fabrication & inspection by engineer incharge. | BI01010001010000000000000515BI0100001166 | 24 | Nos. | 9075 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 217800 | 217800 | INR Two Lakh Seventeen Thousand Eight Hundred Only | 42 | Supply and installation of 6” M.S. column pipe with welded flange C -(Heavy) class pipe of 150mm NB Tata/QST/Jindal make for submersible pump.Wall thickness of pipe -5.4mm, Length-3.0 Mtrs. Flange O.D,P.C.D.,Hole dia as per I.S.Standard Flange Thickness-16 mm Note-1-There will be grooving in each flange for submersible cable. 2-4 Nos. M.S. triangular clit should be welded in each flange. 3- Flange should be welded in right angle 4-Each column pipe should be painted by anticorrosive black paint after fabrication & inspection by engineer incharge. | BI01010001010000000000000515BI0100001166 | 24 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
43 | Supply & installation of KSB pumpset 41H.P. model BPHA384+HBC pump type BPHA4 motor type HBC413 suitable for star –delta operation. | BI01010001010000000000000515BI0100001167 | 2 | Set | 133100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 266200 | 266200 | INR Two Lakh Sixty Six Thousand Two Hundred Only | 43 | Supply & installation of KSB pumpset 41H.P. model BPHA384+HBC pump type BPHA4 motor type HBC413 suitable for star –delta operation. | BI01010001010000000000000515BI0100001167 | 2 | Set | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
44 | Supply and installation of 40HP/50HP star delta starter panel as per technical specification | BI01010001010000000000000515BI0100001168 | 2 | No. | 108900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 217800 | 217800 | INR Two Lakh Seventeen Thousand Eight Hundred Only | 44 | Supply and installation of 40HP/50HP star delta starter panel as per technical specification | BI01010001010000000000000515BI0100001168 | 2 | No. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
45 | Supply and installation 16.00Sqmm product code: 19803091 finolex three core flat cables with bare bunched copper conductor insulated with PVC for submersible pump motor with voltage grade up to 1100 Volt generally confirm to IS694:1990. | BI01010001010000000000000515BI0100001169 | 500 | Mtrs | 677 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 338500 | 338500 | INR Three Lakh Thirty Eight Thousand Five Hundred Only | 45 | Supply and installation 16.00Sqmm product code: 19803091 finolex three core flat cables with bare bunched copper conductor insulated with PVC for submersible pump motor with voltage grade up to 1100 Volt generally confirm to IS694:1990. | BI01010001010000000000000515BI0100001169 | 500 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
46.1 | Interconnection of new pipe to old conectivity including all material labour charge and D/F tee, tell piece D-joint sluice valve etc. 100 mm daimeter | BI01010001010000000000000515BI0100001171 | 6 | Nos | 5580 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33480 | 33480 | INR Thirty Three Thousand Four Hundred & Eighty Only | 46.1 | Interconnection of new pipe to old conectivity including all material labour charge and D/F tee, tell piece D-joint sluice valve etc. 100 mm daimeter | BI01010001010000000000000515BI0100001171 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
46.2 | 150 mm diameter | BI01010001010000000000000515BI0100001172 | 7 | Nos | 6162 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43134 | 43134 | INR Forty Three Thousand One Hundred & Thirty Four Only | 46.2 | 150 mm diameter | BI01010001010000000000000515BI0100001172 | 7 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Supply and Installation C.I./D.I. and pump fitting Accessories (DFT 6"-1no NRV 6"- 01no DF bend 90 dgree-3 nos DF Distence pis 6" 02nos sluice valve 2nos bore cap 14"x6"-1no MS clamp 6"-02nos and etc for each pump. By engineer incharge. | BI01010001010000000000000515BI0100001173 | 2 | Nos | 83345 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 166690 | 166690 | INR One Lakh Sixty Six Thousand Six Hundred & Ninety Only | 47 | Supply and Installation C.I./D.I. and pump fitting Accessories (DFT 6"-1no NRV 6"- 01no DF bend 90 dgree-3 nos DF Distence pis 6" 02nos sluice valve 2nos bore cap 14"x6"-1no MS clamp 6"-02nos and etc for each pump. By engineer incharge. | BI01010001010000000000000515BI0100001173 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
48.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore (18.17.4) | BI01010001010000000000000515BI0100001174 | 2 | Nos | 869.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1738.4 | 1738.4 | INR One Thousand Seven Hundred & Thirty Eight and Paise Forty Only | 48.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 50 mm nominal bore (18.17.4) | BI01010001010000000000000515BI0100001174 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
48.2 | 65 mm nominal bore (18.17.5) | BI01010001010000000000000515BI0100001175 | 2 | Nos | 1488.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2976.2 | 2976.2 | INR Two Thousand Nine Hundred & Seventy Six and Paise Twenty Only | 48.2 | 65 mm nominal bore (18.17.5) | BI01010001010000000000000515BI0100001175 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
48.3 | 80 mm nominal bore (18.17.6) | BI01010001010000000000000515BI0100001176 | 2 | Nos | 2217.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4435.8 | 4435.8 | INR Four Thousand Four Hundred & Thirty Five and Paise Eighty Only | 48.3 | 80 mm nominal bore (18.17.6) | BI01010001010000000000000515BI0100001176 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49.1 | Providing flanged joints to double flanged C.I./ D.I. pipes and specials, including testing of joints : 80 mm diameter pipe (18.30.1) | BI01010001010000000000000515BI0100001177 | 12 | Nos | 169.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2029.8 | 2029.8 | INR Two Thousand &Twenty Nine and Paise Eighty Only | 49.1 | Providing flanged joints to double flanged C.I./ D.I. pipes and specials, including testing of joints : 80 mm diameter pipe (18.30.1) | BI01010001010000000000000515BI0100001177 | 12 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49.2 | 100 mm diameter pipe (18.30.2) | BI01010001010000000000000515BI0100001178 | 12 | Nos | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3180 | 3180 | INR Three Thousand One Hundred & Eighty Only | 49.2 | 100 mm diameter pipe (18.30.2) | BI01010001010000000000000515BI0100001178 | 12 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49.3 | 150 mm diameter pipe (18.30.4) | BI01010001010000000000000515BI0100001179 | 12 | Nos | 327.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3928.8 | 3928.8 | INR Three Thousand Nine Hundred & Twenty Eight and Paise Eighty Only | 49.3 | 150 mm diameter pipe (18.30.4) | BI01010001010000000000000515BI0100001179 | 12 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
50.1 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) : 100 mm diameter Class I (18.31.1.1) | BI01010001010000000000000515BI0100001180 | 4 | Nos | 3977.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15910.4 | 15910.4 | INR Fifteen Thousand Nine Hundred & Ten and Paise Forty Only | 50.1 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) : 100 mm diameter Class I (18.31.1.1) | BI01010001010000000000000515BI0100001180 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
50.2 | 150 mm diameter Class I (18.31.3.1) | BI01010001010000000000000515BI0100001181 | 2 | Nos | 5836.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11673.2 | 11673.2 | INR Eleven Thousand Six Hundred & Seventy Three and Paise Twenty Only | 50.2 | 150 mm diameter Class I (18.31.3.1) | BI01010001010000000000000515BI0100001181 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.32.1) | BI01010001010000000000000515BI0100001182 | 4 | Nos | 1582.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6329.8 | 6329.8 | INR Six Thousand Three Hundred & Twenty Nine and Paise Eighty Only | 51 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.32.1) | BI01010001010000000000000515BI0100001182 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
52 | Constructing masonry Chamber 90x90x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.34.1) | BI01010001010000000000000515BI0100001183 | 2 | Nos | 16134.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32268.3 | 32268.3 | INR Thirty Two Thousand Two Hundred & Sixty Eight and Paise Thirty Only | 52 | Constructing masonry Chamber 90x90x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.34.1) | BI01010001010000000000000515BI0100001183 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
53 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.33.1) | BI01010001010000000000000515BI0100001184 | 2 | Nos | 9288.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18576.8 | 18576.8 | INR Eighteen Thousand Five Hundred & Seventy Six and Paise Eighty Only | 53 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.33.1) | BI01010001010000000000000515BI0100001184 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc, not exceeding 80 mm dia. (2.10.1.1) | BI01010001010000000000000515BI0100001185 | 130 | Mtrs | 223 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28990 | 28990 | INR Twenty Eight Thousand Nine Hundred & Ninety Only | 54.1 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc, not exceeding 80 mm dia. (2.10.1.1) | BI01010001010000000000000515BI0100001185 | 130 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54.2 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia (2.10.1.2) | BI01010001010000000000000515BI0100001186 | 160 | Mtrs | 364.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58272 | 58272 | INR Fifty Eight Thousand Two Hundred & Seventy Two Only | 54.2 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia (2.10.1.2) | BI01010001010000000000000515BI0100001186 | 160 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
55 | Providing and laying D.I. specials of class K-12 suitable for push-on jointing as per IS : 9523 : Up to 600 mm dia (18.68.1) | BI01010001010000000000000515BI0100001187 | 10 | Qntl | 17094.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 170942.5 | 170942.5 | INR One Lakh Seventy Thousand Nine Hundred & Forty Two and Paise Fifty Only | 55 | Providing and laying D.I. specials of class K-12 suitable for push-on jointing as per IS : 9523 : Up to 600 mm dia (18.68.1) | BI01010001010000000000000515BI0100001187 | 10 | Qntl | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
56 | Providing and laying D.I. Specials of Class K - 12 suitable for mechanical jointing as per IS : 9523 : Up to 600 mm dia (18.69.1) | BI01010001010000000000000515BI0100001188 | 10 | Qntl | 17963.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 179639.5 | 179639.5 | INR One Lakh Seventy Nine Thousand Six Hundred & Thirty Nine and Paise Fifty Only | 56 | Providing and laying D.I. Specials of Class K - 12 suitable for mechanical jointing as per IS : 9523 : Up to 600 mm dia (18.69.1) | BI01010001010000000000000515BI0100001188 | 10 | Qntl | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
57.1 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket : 100 mm dia pipes (18.70.1) | BI01010001010000000000000515BI0100001189 | 30 | Joint | 91.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2749.5 | 2749.5 | INR Two Thousand Seven Hundred & Forty Nine and Paise Fifty Only | 57.1 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket : 100 mm dia pipes (18.70.1) | BI01010001010000000000000515BI0100001189 | 30 | Joint | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
57.2 | 150 mm dia pipes (18.70.2) | BI01010001010000000000000515BI0100001190 | 50 | Joint | 149.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7492.5 | 7492.5 | INR Seven Thousand Four Hundred & Ninety Two and Paise Fifty Only | 57.2 | 150 mm dia pipes (18.70.2) | BI01010001010000000000000515BI0100001190 | 50 | Joint | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
58 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 50 mm nominal bore (18.46.6) | BI01010001010000000000000515BI0100001191 | 80 | Nos | 598.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47848 | 47848 | INR Forty Seven Thousand Eight Hundred & Forty Eight Only | 58 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 50 mm nominal bore (18.46.6) | BI01010001010000000000000515BI0100001191 | 80 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
59.1 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329 : 100 mm dia Ductile Iron Class K-7 pipes (18.72.1) | BI01010001010000000000000515BI0100001192 | 130 | Mtrs | 1114.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 144833 | 144833 | INR One Lakh Forty Four Thousand Eight Hundred & Thirty Three Only | 59.1 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329 : 100 mm dia Ductile Iron Class K-7 pipes (18.72.1) | BI01010001010000000000000515BI0100001192 | 130 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
59.2 | 150 mm dia Ductile Iron Class K-7 pipes (18.72.2) | BI01010001010000000000000515BI0100001193 | 160 | Mtrs | 1590.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 254488 | 254488 | INR Two Lakh Fifty Four Thousand Four Hundred & Eighty Eight Only | 59.2 | 150 mm dia Ductile Iron Class K-7 pipes (18.72.2) | BI01010001010000000000000515BI0100001193 | 160 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
60.1 | Providing and laying Double Flanged (screwed / welded) Centrifugally (Spun) Cast Iron, Class B (IS : 1536) : 100 mm dia C.I. Double Flanged Pipe (18.71.1) | BI01010001010000000000000515BI0100001194 | 28 | Mtrs | 1827.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51158.8 | 51158.8 | INR Fifty One Thousand One Hundred & Fifty Eight and Paise Eighty Only | 60.1 | Providing and laying Double Flanged (screwed / welded) Centrifugally (Spun) Cast Iron, Class B (IS : 1536) : 100 mm dia C.I. Double Flanged Pipe (18.71.1) | BI01010001010000000000000515BI0100001194 | 28 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
60.2 | 150 mm dia C.I. Double Flanged Pipe (18.71.2) | BI01010001010000000000000515BI0100001195 | 50 | Mtrs | 2861.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 143097.5 | 143097.5 | INR One Lakh Forty Three Thousand &Ninety Seven and Paise Fifty Only | 60.2 | 150 mm dia C.I. Double Flanged Pipe (18.71.2) | BI01010001010000000000000515BI0100001195 | 50 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 7692072.1 | 6583984 | INR Sixty Five Lakh Eighty Three Thousand Nine Hundred & Eighty Four Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information