## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Estimate for Electrical Supply and laying of power to feeding D.G power supply to various location of Physics, Deptt. IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001114 | 90 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15030 | 15030 | INR Fifteen Thousand &Thirty Only | 1.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001114 | 90 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001115 | 90 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18000 | 18000 | INR Eighteen Thousand Only | 1.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001115 | 90 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.3 | 2X 6sq. mm + 1X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 220 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54780 | 54780 | INR Fifty Four Thousand Seven Hundred & Eighty Only | 1.3 | 2X 6sq. mm + 1X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 220 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.4 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 430 | Mtrs | 543 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 233490 | 233490 | INR Two Lakh Thirty Three Thousand Four Hundred & Ninety Only | 1.4 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 430 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001118 | 6 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14334 | 14334 | INR Fourteen Thousand Three Hundred & Thirty Four Only | 2 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001118 | 6 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001119 | 70 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13930 | 13930 | INR Thirteen Thousand Nine Hundred & Thirty Only | 3 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001119 | 70 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way , Double door | BI01010001010000000000000515BI0100001120 | 6 | Nos | 1661 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9966 | 9966 | INR Nine Thousand Nine Hundred & Sixty Six Only | 4 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way , Double door | BI01010001010000000000000515BI0100001120 | 6 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Supplying .insalling on wall testing & commissioning of following capacity rising mains made Bus Bar of 1.6 thick IP 42 sheet steel encloser duly paited with powder coating bus havibg current rating 200amp 415Volt 3 phase, 4 wire 50hz AC Supply extension joint fire proff jointed and earthing expansion joint, thrust.pads including with2 runs of G.I StriP. | BI01010001010000000000000515BI0100001121 | 1 | Nos | 4787 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4787 | 4787 | INR Four Thousand Seven Hundred & Eighty Seven Only | 5 | Supplying .insalling on wall testing & commissioning of following capacity rising mains made Bus Bar of 1.6 thick IP 42 sheet steel encloser duly paited with powder coating bus havibg current rating 200amp 415Volt 3 phase, 4 wire 50hz AC Supply extension joint fire proff jointed and earthing expansion joint, thrust.pads including with2 runs of G.I StriP. | BI01010001010000000000000515BI0100001121 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying ,installation ,testing and commissioning of 200 Amp.TPN Capacity TPN top off box made of 1.6mm thick sheet steel enclouser duly painted with powder coating on existing rising mains complete with TPN Disconnector FSU and HRC fuses connection etc. as required. | BI01010001010000000000000515BI0100001122 | 1 | Nos | 17382 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17382 | 17382 | INR Seventeen Thousand Three Hundred & Eighty Two Only | 6 | Supplying ,installation ,testing and commissioning of 200 Amp.TPN Capacity TPN top off box made of 1.6mm thick sheet steel enclouser duly painted with powder coating on existing rising mains complete with TPN Disconnector FSU and HRC fuses connection etc. as required. | BI01010001010000000000000515BI0100001122 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001123 | 2 | Nos | 1760 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3520 | 3520 | INR Three Thousand Five Hundred & Twenty Only | 7 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001123 | 2 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supplying and fixing (DP MCB) miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001124 | 2 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1112 | 1112 | INR One Thousand One Hundred & Twelve Only | 8 | Supplying and fixing (DP MCB) miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001124 | 2 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001125 | 1 | Nos. | 4033 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4033 | 4033 | INR Four Thousand &Thirty Three Only | 9 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001125 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001126 | 6 | Mtr | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 786 | 786 | INR Seven Hundred & Eighty Six Only | 10 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001126 | 6 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 391150 | 391150 | INR Three Lakh Ninety One Thousand One Hundred & Fifty Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information