## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: BOQ for Internal Electrification & illuminations work in the committee hall and Electrical wiring, illumination, power point, light & fan point works in the Microbiology and Biotechnology lab of Pharmaceutical Engineering & Technology Department, IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001114 | 52 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51480 | 51480 | INR Fifty One Thousand Four Hundred & Eighty Only | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001114 | 52 | Points | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 120 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20040 | 20040 | INR Twenty Thousand &Forty Only | 2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 120 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 210 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42000 | 42000 | INR Forty Two Thousand Only | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 210 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 60 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14940 | 14940 | INR Fourteen Thousand Nine Hundred & Forty Only | 2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 60 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 4 X4sq. mm + 2 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 35 | Mtrs | 308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10780 | 10780 | INR Ten Thousand Seven Hundred & Eighty Only | 2.4 | 4 X4sq. mm + 2 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 35 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.5 | 4 X6sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 40 | Mtrs | 394 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15760 | 15760 | INR Fifteen Thousand Seven Hundred & Sixty Only | 2.5 | 4 X6sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 40 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.6 | 4 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001121 | 10 | Mtrs | 543 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5430 | 5430 | INR Five Thousand Four Hundred & Thirty Only | 2.6 | 4 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001121 | 10 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001122 | 32 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12832 | 12832 | INR Twelve Thousand Eight Hundred & Thirty Two Only | 3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001122 | 32 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001123 | 32 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15840 | 15840 | INR Fifteen Thousand Eight Hundred & Forty Only | 4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001123 | 32 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001124 | 2 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1278 | 1278 | INR One Thousand Two Hundred & Seventy Eight Only | 5 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001124 | 2 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 24), Double door -Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001125 | 2 | Nos | 4601 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9202 | 9202 | INR Nine Thousand Two Hundred & Two Only | 6 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (4 + 24), Double door -Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001125 | 2 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001127 | 1 | Nos | 4601 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4601 | 4601 | INR Four Thousand Six Hundred & One Only | 7 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001127 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001129 | 1 | Nos | 1760 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1760 | 1760 | INR One Thousand Seven Hundred & Sixty Only | 8 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way , Double door | BI01010001010000000000000515BI0100001129 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way Double door.Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001130 | 2 | Nos | 2053 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4106 | 4106 | INR Four Thousand One Hundred & Six Only | 9 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way Double door.Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001130 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C”curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Make L&T/LEGRAND/ABB Single pole | BI01010001010000000000000515BI0100001132 | 40 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7960 | 7960 | INR Seven Thousand Nine Hundred & Sixty Only | 10 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C”curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Make L&T/LEGRAND/ABB Single pole | BI01010001010000000000000515BI0100001132 | 40 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
11 | Tripal pole & neutral | BI01010001010000000000000515BI0100001133 | 1 | Nos | 1092 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1092 | 1092 | INR One Thousand &Ninety Two Only | 11 | Tripal pole & neutral | BI01010001010000000000000515BI0100001133 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | DP MCB C CURVE 5-32Amp | BI01010001010000000000000515BI0100001134 | 1 | Nos | 826 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 826 | 826 | INR Eight Hundred & Twenty Six Only | 12 | DP MCB C CURVE 5-32Amp | BI01010001010000000000000515BI0100001134 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | 40/32 A Double pole MCB | BI01010001010000000000000515BI0100001135 | 2 | Nos | 544 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1088 | 1088 | INR One Thousand &Eighty Eight Only | 13 | 40/32 A Double pole MCB | BI01010001010000000000000515BI0100001135 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001136 | 5 | Nos | 2855 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14275 | 14275 | INR Fourteen Thousand Two Hundred & Seventy Five Only | 14 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001136 | 5 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | 2 Way & 4Way enclosure box | BI01010001010000000000000515BI0100001137 | 9 | Nos | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6030 | 6030 | INR Six Thousand &Thirty Only | 15 | 2 Way & 4Way enclosure box | BI01010001010000000000000515BI0100001137 | 9 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001138 | 32 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13280 | 13280 | INR Thirteen Thousand Two Hundred & Eighty Only | 16 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001138 | 32 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed) (Make: Usha / Crompton / Bajaj ) | BI01010001010000000000000515BI0100001139 | 14 | Nos | 2450 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34300 | 34300 | INR Thirty Four Thousand Three Hundred Only | 17 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed) (Make: Usha / Crompton / Bajaj ) | BI01010001010000000000000515BI0100001139 | 14 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001140 | 14 | Nos | 288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4032 | 4032 | INR Four Thousand &Thirty Two Only | 18 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001140 | 14 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001141 | 3 | Nos | 2452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7356 | 7356 | INR Seven Thousand Three Hundred & Fifty Six Only | 19 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001141 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001142 | 2 | Nos | 3081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6162 | 6162 | INR Six Thousand One Hundred & Sixty Two Only | 20 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001142 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001143 | 14 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7700 | 7700 | INR Seven Thousand Seven Hundred Only | 21 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001143 | 14 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Supplying and fixing of 230VAC 1Ph. 450 mm exhaust Fan with sweep feature. ( Make: Usha / ORIENT / CG) | BI01010001010000000000000515BI0100001144 | 2 | Nos | 5200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10400 | 10400 | INR Ten Thousand Four Hundred Only | 22 | Supplying and fixing of 230VAC 1Ph. 450 mm exhaust Fan with sweep feature. ( Make: Usha / ORIENT / CG) | BI01010001010000000000000515BI0100001144 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | SITC of100 Amp Main Swich with 3 no SFU & Enclosour box Make-L&T/ABB/SEIMENS | BI01010001010000000000000515BI0100001145 | 1 | Nos | 11082 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11082 | 11082 | INR Eleven Thousand &Eighty Two Only | 23 | SITC of100 Amp Main Swich with 3 no SFU & Enclosour box Make-L&T/ABB/SEIMENS | BI01010001010000000000000515BI0100001145 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A, “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required.Make L&T/LEGRAND/ABB . | BI01010001010000000000000515BI0100001146 | 4 | Nos | 1146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4584 | 4584 | INR Four Thousand Five Hundred & Eighty Four Only | 24 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A, “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required.Make L&T/LEGRAND/ABB . | BI01010001010000000000000515BI0100001146 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | BI01010001010000000000000515BI0100001147 | 1 | Nos | 4033 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4033 | 4033 | INR Four Thousand &Thirty Three Only | 25 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | BI01010001010000000000000515BI0100001147 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | BI01010001010000000000000515BI0100001148 | 20 | Nos | 206 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4120 | 4120 | INR Four Thousand One Hundred & Twenty Only | 26 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | BI01010001010000000000000515BI0100001148 | 20 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Supply and laying of 3.5CX35 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, direct in ground including excavation , sand cushioning , protective covering and refilling the trench etc. as required as per site. Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001149 | 25 | Mtr | 448 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11200 | 11200 | INR Eleven Thousand Two Hundred Only | 27 | Supply and laying of 3.5CX35 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, direct in ground including excavation , sand cushioning , protective covering and refilling the trench etc. as required as per site. Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001149 | 25 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001150 | 20 | Nos | 4189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83780 | 83780 | INR Eighty Three Thousand Seven Hundred & Eighty Only | 28 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001150 | 20 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Supplying , installation testing and commissioning of 63 Amp. TPN tap off box made of 1.6mm thick sheet steel encloser duly painted with powder coating on existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001151 | 1 | Nos. | 9633 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9633 | 9633 | INR Nine Thousand Six Hundred & Thirty Three Only | 29 | Supplying , installation testing and commissioning of 63 Amp. TPN tap off box made of 1.6mm thick sheet steel encloser duly painted with powder coating on existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001151 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Supplying , installation testing and commissioning of 5KVA Incomming 3 phase 415V and outgoing single phase 240 Online UPS system. Make APC, Microtech , Vertive , or Equivalent.. | BI01010001010000000000000515BI0100001152 | 1 | Nos. | 110000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 110000 | 110000 | INR One Lakh Ten Thousand Only | 30 | Supplying , installation testing and commissioning of 5KVA Incomming 3 phase 415V and outgoing single phase 240 Online UPS system. Make APC, Microtech , Vertive , or Equivalent.. | BI01010001010000000000000515BI0100001152 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Supplying , installation testing and commissioning of battery (NXT type Make-Amaron, Quanta HBL 12V, 42 AH Suaitable for above UPS including necessary connection with UPS or Equivelent in Exide. With 42ahx16 batteries rack & interlink connection | BI01010001010000000000000515BI0100001153 | 16 | Nos. | 5700 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91200 | 91200 | INR Ninety One Thousand Two Hundred Only | 31 | Supplying , installation testing and commissioning of battery (NXT type Make-Amaron, Quanta HBL 12V, 42 AH Suaitable for above UPS including necessary connection with UPS or Equivelent in Exide. With 42ahx16 batteries rack & interlink connection | BI01010001010000000000000515BI0100001153 | 16 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Supplying, Installation, Testing and Commissioning of following capacity Wall mounting Split type air conditioners consisting of energy efficient compressor , suitable for operation on single phase 230 V, 50Hz AC Supply, Condenser unit with required stand/wall bracket, capable of performing cooling, dehumidification, air circulation filtering and ventilation, Auto restart, IDU / remote with LED / LCD Panel display, full charge of refrigenrant gas and oil, remote control etc as reqd. (Make- Bule Star/ Voltas/ Daikin) 2 TR (5 star rating by BEE) | BI01010001010000000000000515BI0100001155 | 3 | Nos. | 65322 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195966 | 195966 | INR One Lakh Ninety Five Thousand Nine Hundred & Sixty Six Only | 32 | Supplying, Installation, Testing and Commissioning of following capacity Wall mounting Split type air conditioners consisting of energy efficient compressor , suitable for operation on single phase 230 V, 50Hz AC Supply, Condenser unit with required stand/wall bracket, capable of performing cooling, dehumidification, air circulation filtering and ventilation, Auto restart, IDU / remote with LED / LCD Panel display, full charge of refrigenrant gas and oil, remote control etc as reqd. (Make- Bule Star/ Voltas/ Daikin) 2 TR (5 star rating by BEE) | BI01010001010000000000000515BI0100001155 | 3 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 850148 | 850148 | INR Eight Lakh Fifty Thousand One Hundred & Forty Eight Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information