## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Electrification for central power backup system in the Pharmacetucal Engineering & Technology Department, IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001114 | 100 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16700 | 16700 | INR Sixteen Thousand Seven Hundred Only | 1.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001114 | 100 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001115 | 120 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24000 | 24000 | INR Twenty Four Thousand Only | 1.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001115 | 120 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.3 | 4 X4sq. mm + 2 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 80 | Mtrs | 308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24640 | 24640 | INR Twenty Four Thousand Six Hundred & Forty Only | 1.3 | 4 X4sq. mm + 2 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 80 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way Double door.Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001117 | 4 | Nos | 2053 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8212 | 8212 | INR Eight Thousand Two Hundred & Twelve Only | 2 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way Double door.Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001117 | 4 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C”curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Make L&T/LEGRAND/ABB Single pole | BI01010001010000000000000515BI0100001119 | 42 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8358 | 8358 | INR Eight Thousand Three Hundred & Fifty Eight Only | 3.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C”curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Make L&T/LEGRAND/ABB Single pole | BI01010001010000000000000515BI0100001119 | 42 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.2 | DP MCB C CURVE 5-32Amp | BI01010001010000000000000515BI0100001120 | 8 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4448 | 4448 | INR Four Thousand Four Hundred & Forty Eight Only | 3.2 | DP MCB C CURVE 5-32Amp | BI01010001010000000000000515BI0100001120 | 8 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | 2/4 Module sheet steel Enclosure | BI01010001010000000000000515BI0100001121 | 6 | Nos | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5100 | 5100 | INR Five Thousand One Hundred Only | 4 | 2/4 Module sheet steel Enclosure | BI01010001010000000000000515BI0100001121 | 6 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supplying , installation testing and commissioning of 63 Amp. TPN tap off box made of 1.6mm thick sheet steel encloser duly painted with powder coating on existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001122 | 3 | Nos. | 9633 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28899 | 28899 | INR Twenty Eight Thousand Eight Hundred & Ninety Nine Only | 5 | Supplying , installation testing and commissioning of 63 Amp. TPN tap off box made of 1.6mm thick sheet steel encloser duly painted with powder coating on existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require Make L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001122 | 3 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Supplying , installation testing and commissioning of 10KVA Online UPS system. Make APC, Microtech , Emerson,etc. with suplying , installation testing and commissioning of battery (NXT type Make-Amaron, Quanta HBL 12V, 100AH Suaitable for above UPS including necessary connection with UPS or Equivelent in Exide. (Minimum 1 hours backup) also mounting MS battery stand. | BI01010001010000000000000515BI0100001123 | 1 | Nos. | 367322 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 367322 | 367322 | INR Three Lakh Sixty Seven Thousand Three Hundred & Twenty Two Only | 6 | Supplying , installation testing and commissioning of 10KVA Online UPS system. Make APC, Microtech , Emerson,etc. with suplying , installation testing and commissioning of battery (NXT type Make-Amaron, Quanta HBL 12V, 100AH Suaitable for above UPS including necessary connection with UPS or Equivelent in Exide. (Minimum 1 hours backup) also mounting MS battery stand. | BI01010001010000000000000515BI0100001123 | 1 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 487679 | 487679 | INR Four Lakh Eighty Seven Thousand Six Hundred & Seventy Nine Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information