## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: BOQ for Electrical Installations, wiring,illumination,power,light & fan point Works in the TEM of NELMIF lab Dept of Metallurgical Engg IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001113 | 30 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Trenching in ordinary soil up to a depth of 60 cm including removal andstacking of serviceable materials and then disposing of surplus soil, byspreading and neatly levelling within a lead of 50 m and making up thetrenched area to proper levels by filling with earth or earth mixed withsludge or / and manure before and after flooding trench with water (excludingcost of imported earth, sludge or manure). (2.1) | BI01010001010000000000000515BI0100001113 | 1446 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001114 | 141 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km lead complete (earth measured in stacks will be reduced by 20% for payment). (2.2) | BI01010001010000000000000515BI0100001114 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001115 | 35 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying and stacking sludge at site including royalty and carriage upto 5km lead complete (sludge measured in stacks will be reduced by 8% for payment). (2.3) | BI01010001010000000000000515BI0100001115 | 241 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.3 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 45 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Supplying and stacking at site dump manure from approved source, including carriage upto 5 km lead complete (manure measured in stacks will be reduced by 8% for payment) : Screened through sieve of I.S. designation 16 mm (2.4.2) | BI01010001010000000000000515BI0100001116 | 241 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.4 | 4 X4sq. mm + 2 X4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 90 | Mtrs | 308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation.(2.6) | BI01010001010000000000000515BI0100001117 | 4819 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.5 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 60 | Mtrs | 394 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Spreading of sludge, dump manure and/or good earth in required thickness as per direction of officer-in-charge (cost of sludge, dump manure and/ or good earth to be paid separately) (2.8) | BI01010001010000000000000515BI0100001118 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.6 | 4 X 10 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 30 | Mtrs | 534 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Grassing with selection No. 1/ Doob grass including watering and maintenance of the lawn for 30 days or more till the grass forms a thick lawn, free from weeds and fit for mowing including supplying good earth, if needed (the grass and good earth shall be paid for separately). With grass Turf (2.10.2) | BI01010001010000000000000515BI0100001119 | 4819 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001120 | 20 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Providing and Displaying Chrysanthemum single variety in different colour well developed having 45 to 60 cm ht., minimum 100 and above half bloom flowers open well stacked with bamboo stick having three layer tiding by thread fresh and healthy foliage in 25 cm Earthen Pot and as per direction of the officer-in-charge. (4.13) | BI01010001010000000000000515BI0100001120 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001121 | 20 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Providing and Displaying Dahlia double kenya variety in different colour well developed with 3 to 4 flowers in half bloom, good foliage stacked withGreen painted Bamboo sticks, 45 to 60 cm height in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.24) | BI01010001010000000000000515BI0100001121 | 100 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. (For light plugs to be used in non residential buildings). | BI01010001010000000000000515BI0100001122 | 5 | Nos | 582 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | Providing and Displaying Marigold jaffri dwarf in different colour well developed with fresh & healthy foliage with 12 to 15 flowers in full bloom specimen plant 23 to 30 cm ht. in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.36) | BI01010001010000000000000515BI0100001122 | 100 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001123 | 3 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Providing and Displaying Petunia hybrid different variety in different colour well developed with fresh and healthy foliage in full bloom in 25 cm Earthen Pot/Plastic Pot as per direction of the officer-in-charge. (4.50) | BI01010001010000000000000515BI0100001123 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | FP MCB 32 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001124 | 5 | Nos | 1745 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | Providing and Displaying Salvia dwarf variety with fresh & healthy foliage well developed multi branching in blooming stage in 15 cm Earthen Pot/ Plastic Pot and as per direction of the officer-in-charge. (4.60) | BI01010001010000000000000515BI0100001124 | 75 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | 4 Way sheet steel enclosure | BI01010001010000000000000515BI0100001125 | 5 | Nos | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13 | Providing and Displaying Salvia ht. 45 to 60 cm multi branches stackingwith bamboo stick specimen type with full bloom well developed in 30 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.61) | BI01010001010000000000000515BI0100001125 | 75 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 2 8way (4 + 24), Double door | BI01010001010000000000000515BI0100001126 | 2 | Nos | 4601 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Providing and Displaying Gazania hybrid in different colour well developedwith fresh & healthy foliage with full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.31) | BI01010001010000000000000515BI0100001126 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | FP MCB 63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001127 | 2 | Nos | 2500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Providing and Displaying Kochia well developed fresh & healthy 30 to 45cm ht. lush green well shaped in 25 cm Earthen Pot/Plastic Pot and as perdirection of the officer-in-charge. (4.78) | BI01010001010000000000000515BI0100001127 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 16way, Double door | BI01010001010000000000000515BI0100001128 | 1 | Nos | 2453 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | Providing and Displaying Zinnia hybrid double in different colour well developed fresh & healthy 30 to 45 cm ht. (3 to 4 in each pot) full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.86) | BI01010001010000000000000515BI0100001128 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001129 | 15 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Providing and Displaying Gaillardia double hybrid variety well developed 30 to 45 cm ht 20 to 30 fresh & healthy flower with green painted bamboo stick in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.75) | BI01010001010000000000000515BI0100001129 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12.2 | DP MCB 5-32 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001130 | 2 | Nos | 556 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18 | Providing and Displaying Portulaca hybrid in different colour with bloom well developed fresh & healthy in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.79) | BI01010001010000000000000515BI0100001130 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12.3 | TP MCB 5-32 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001131 | 2 | Nos | 826 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19 | Providing and displaying of Areca Palm having ht. 1.80 m to 2.10 m with 8 to 10 suckers, well developed, fresh and healthy with lush green foliage in 30 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.21) | BI01010001010000000000000515BI0100001131 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001132 | 5 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20 | Providing and displaying of Croton golden (Broad Leaves) having ht. 60 cm to 75 cm with 3 to 4 branches, well developed, fresh and healthy leaves in 25 cm size of Earthen pot/Plastic pot. & as per direction of the officer-in-charge. (3.32) | BI01010001010000000000000515BI0100001132 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supplying ,fixing Connecting & Testing ,2X2 , 28W False ceiling LED Light Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001133 | 20 | Nos | 3850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21 | Providing and displaying of Dracaena song of India specimen (three in one), having ht. 60 cm & above, well developed, fresh and healthy with good foliage in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.45) | BI01010001010000000000000515BI0100001133 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001134 | 5 | Nos | 2452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22 | Providing and displaying of Syngonium golden mounted on moss stick 90 cm ht., 3 to 4 s placed in each pot at equal distance, well developed with full of fresh & healthy leaves from bottom to top in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.91) | BI01010001010000000000000515BI0100001134 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Supplying and laying of LT power cable of 3.5Cx 50 Sqmm on wall surface including termination at both ends using gland and lugs as required. (Make: Polycab/ Gloster/ KEI) | BI01010001010000000000000515BI0100001135 | 40 | Mtrs | 470 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 23 | Providing and Displaying Adenium Obesum grafted well developed with fresh & healthy 30 to 60 cm ht. in 25 cm size Earthen Pot/ Plastic Pot as per direction of the officer-in-charge. (5.5) | BI01010001010000000000000515BI0100001135 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Providing & fixing of Cable End termination | BI01010001010000000000000515BI0100001136 | 2 | Nos | 900 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 24 | Providing and stacking of Bottle palm of ht. 210-240 cm bottom girth 30-35 cm well developed in big HDPE bags. (7.11) | BI01010001010000000000000515BI0100001136 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and fixing following capacity 100 Amp Conferming IEC60947-3,IS/IEC 60947-3 Standared ,TP&N disconnector fuse switch unit with enclosure box including 3 no-100 Amp HRC Fuse inside the existing panel board with ISI marked HRC fuses including drilling holes in cubicle panel, making connections, etc. as required. | BI01010001010000000000000515BI0100001137 | 1 | Nos | 9180 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25 | Providing and Displaying Golden Bottle brush Topiary well developed with fresh & healthy foliage 5 to 6 big ball 115 to 180 cm ht in 40 cm Cement Pot as per direction of the officer-in-charge. (5.33) | BI01010001010000000000000515BI0100001137 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information