## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Renovation of the Class Rooms G-14, NCR-01, NCR-01, 101, 102 and CRMT Lab in Department of Electronics Engineering, IIT(BHU) Varanasi
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Demolishing cement concrete manually / by mechanical means and disposal of material within 50 metres lead as per direction of Engineer in charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001113 | 1 | cum | 1737.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Trenching in ordinary soil up to a depth of 60 cm including removal andstacking of serviceable materials and then disposing of surplus soil, byspreading and neatly levelling within a lead of 50 m and making up thetrenched area to proper levels by filling with earth or earth mixed withsludge or / and manure before and after flooding trench with water (excludingcost of imported earth, sludge or manure). (2.1) | BI01010001010000000000000515BI0100001113 | 1446 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001114 | 4 | cum | 1469.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km lead complete (earth measured in stacks will be reduced by 20% for payment). (2.2) | BI01010001010000000000000515BI0100001114 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | BI01010001010000000000000515BI0100001115 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying and stacking sludge at site including royalty and carriage upto 5km lead complete (sludge measured in stacks will be reduced by 8% for payment). (2.3) | BI01010001010000000000000515BI0100001115 | 241 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.1 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone (4.1.8) aggregate 40 mm nominal size) | BI01010001010000000000000515BI0100001116 | 1 | cum | 5789.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Supplying and stacking at site dump manure from approved source, including carriage upto 5 km lead complete (manure measured in stacks will be reduced by 8% for payment) : Screened through sieve of I.S. designation 16 mm (2.4.2) | BI01010001010000000000000515BI0100001116 | 241 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.2 | 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (4.1.3) | BI01010001010000000000000515BI0100001117 | 2 | cum | 6788.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Uprooting weeds from the trenched area after 10 to 15 days of its flooding with water including disposal of uprooted vegetation.(2.6) | BI01010001010000000000000515BI0100001117 | 4819 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001118 | 177 | Sqm | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Spreading of sludge, dump manure and/or good earth in required thickness as per direction of officer-in-charge (cost of sludge, dump manure and/ or good earth to be paid separately) (2.8) | BI01010001010000000000000515BI0100001118 | 482 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. (13.91) | BI01010001010000000000000515BI0100001119 | 1676 | sqm | 18.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Grassing with selection No. 1/ Doob grass including watering and maintenance of the lawn for 30 days or more till the grass forms a thick lawn, free from weeds and fit for mowing including supplying good earth, if needed (the grass and good earth shall be paid for separately). With grass Turf (2.10.2) | BI01010001010000000000000515BI0100001119 | 4819 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001120 | 1620 | sqm | 115.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Providing and Displaying Chrysanthemum single variety in different colour well developed having 45 to 60 cm ht., minimum 100 and above half bloom flowers open well stacked with bamboo stick having three layer tiding by thread fresh and healthy foliage in 25 cm Earthen Pot and as per direction of the officer-in-charge. (4.13) | BI01010001010000000000000515BI0100001120 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade New work (two or more coats) over and including water thinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001121 | 1676 | sqm | 153.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Providing and Displaying Dahlia double kenya variety in different colour well developed with 3 to 4 flowers in half bloom, good foliage stacked withGreen painted Bamboo sticks, 45 to 60 cm height in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.24) | BI01010001010000000000000515BI0100001121 | 100 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS : 1285, fixing with dash fastners of required dia & size, including necessary filling up the gaps at junctions, i.e. top, bottom and sides with required EPDM rubber /neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling,C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and panelling to be paid for separately.) For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001122 | 155 | kg | 423.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | Providing and Displaying Marigold jaffri dwarf in different colour well developed with fresh & healthy foliage with 12 to 15 flowers in full bloom specimen plant 23 to 30 cm ht. in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.36) | BI01010001010000000000000515BI0100001122 | 100 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or garded wood particle board conforming to IS : 12823 Grade I Type II, in panelling fixed in aluminium doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Prelaminated particle board with decorative lamination on both sides. (21.2.1) | BI01010001010000000000000515BI0100001123 | 3 | sqm | 997.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Providing and Displaying Petunia hybrid different variety in different colour well developed with fresh and healthy foliage in full bloom in 25 cm Earthen Pot/Plastic Pot as per direction of the officer-in-charge. (4.50) | BI01010001010000000000000515BI0100001123 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item.) With float glass panes of 5.50 mm thickness (21.3.2) | BI01010001010000000000000515BI0100001124 | 17 | sqm | 1296.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | Providing and Displaying Salvia dwarf variety with fresh & healthy foliage well developed multi branching in blooming stage in 15 cm Earthen Pot/ Plastic Pot and as per direction of the officer-in-charge. (4.60) | BI01010001010000000000000515BI0100001124 | 75 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 125 mm (9.100.1) | BI01010001010000000000000515BI0100001125 | 4 | Nos. | 59.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13 | Providing and Displaying Salvia ht. 45 to 60 cm multi branches stackingwith bamboo stick specimen type with full bloom well developed in 30 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.61) | BI01010001010000000000000515BI0100001125 | 75 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc.complete. (21.13) | BI01010001010000000000000515BI0100001126 | 2 | Nos | 458.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Providing and Displaying Gazania hybrid in different colour well developedwith fresh & healthy foliage with full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.31) | BI01010001010000000000000515BI0100001126 | 100 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS:3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701mm to 1000mm), with double speed adjustment with necessary accessories and screws etc. complete. (9.84) | BI01010001010000000000000515BI0100001127 | 2 | Nos | 851.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Providing and Displaying Kochia well developed fresh & healthy 30 to 45cm ht. lush green well shaped in 25 cm Earthen Pot/Plastic Pot and as perdirection of the officer-in-charge. (4.78) | BI01010001010000000000000515BI0100001127 | 100 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. Twin rubber stopper (9.101.2) | BI01010001010000000000000515BI0100001128 | 2 | Nos. | 62.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | Providing and Displaying Zinnia hybrid double in different colour well developed fresh & healthy 30 to 45 cm ht. (3 to 4 in each pot) full bloom in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.86) | BI01010001010000000000000515BI0100001128 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of Engineer-in-Charge. With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles. (26.22.1) | BI01010001010000000000000515BI0100001129 | 377 | sqm | 1688.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Providing and Displaying Gaillardia double hybrid variety well developed 30 to 45 cm ht 20 to 30 fresh & healthy flower with green painted bamboo stick in 25 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.75) | BI01010001010000000000000515BI0100001129 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). (11.49.2) | BI01010001010000000000000515BI0100001130 | 298 | sqm | 1609.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18 | Providing and Displaying Portulaca hybrid in different colour with bloom well developed fresh & healthy in 20 cm Earthen Pot/Plastic Pot and as per direction of the officer-in-charge. (4.79) | BI01010001010000000000000515BI0100001130 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) (6.4.2) | BI01010001010000000000000515BI0100001131 | 0.5 | cum | 7590.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19 | Providing and displaying of Areca Palm having ht. 1.80 m to 2.10 m with 8 to 10 suckers, well developed, fresh and healthy with lush green foliage in 30 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.21) | BI01010001010000000000000515BI0100001131 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001132 | 5 | sqm | 932.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20 | Providing and displaying of Croton golden (Broad Leaves) having ht. 60 cm to 75 cm with 3 to 4 branches, well developed, fresh and healthy leaves in 25 cm size of Earthen pot/Plastic pot. & as per direction of the officer-in-charge. (3.32) | BI01010001010000000000000515BI0100001132 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 coarse sand) (13.4.2) | BI01010001010000000000000515BI0100001133 | 218 | sqm | 263.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21 | Providing and displaying of Dracaena song of India specimen (three in one), having ht. 60 cm & above, well developed, fresh and healthy with good foliage in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.45) | BI01010001010000000000000515BI0100001133 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | 15 mm cement plaster on rough side of single or half brick wall of mix :1:6 (1 cement : 6 coarse sand) (13.5.2) | BI01010001010000000000000515BI0100001134 | 5 | sqm | 303.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22 | Providing and displaying of Syngonium golden mounted on moss stick 90 cm ht., 3 to 4 s placed in each pot at equal distance, well developed with full of fresh & healthy leaves from bottom to top in 25 cm size of Earthen pot/Plastic pot & as per direction of the officer-in-charge. (3.91) | BI01010001010000000000000515BI0100001134 | 100 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall | BI01010001010000000000000515BI0100001135 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 23 | Providing and Displaying Adenium Obesum grafted well developed with fresh & healthy 30 to 60 cm ht. in 25 cm size Earthen Pot/ Plastic Pot as per direction of the officer-in-charge. (5.5) | BI01010001010000000000000515BI0100001135 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21.1 | 15mm dia. nominal bore (18.10.1) | BI01010001010000000000000515BI0100001136 | 25 | metre | 284.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 24 | Providing and stacking of Bottle palm of ht. 210-240 cm bottom girth 30-35 cm well developed in big HDPE bags. (7.11) | BI01010001010000000000000515BI0100001136 | 75 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21.2 | 25mm dia. nominal bore (18.10.3) | BI01010001010000000000000515BI0100001137 | 10 | metre | 438 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25 | Providing and Displaying Golden Bottle brush Topiary well developed with fresh & healthy foliage 5 to 6 big ball 115 to 180 cm ht in 40 cm Cement Pot as per direction of the officer-in-charge. (5.33) | BI01010001010000000000000515BI0100001137 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001138 | 1 | Nos. | 418.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001139 | 1 | Nos. | 606.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001140 | 4 | Nos | 231.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodiccoating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | BI01010001010000000000000515BI0100001141 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25.1 | 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001142 | 4 | Nos | 103.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25.2 | 150x10 mm (9.97.4) | BI01010001010000000000000515BI0100001143 | 2 | Nos | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.With 12 mm mild steel U beading (9.135.2) | BI01010001010000000000000515BI0100001144 | 13 | sqm | 1001.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. all complete. Fixed to steel windows by welding (9.48.1) | BI01010001010000000000000515BI0100001145 | 549 | kg. | 165.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Providing and fixing factory made uPVC white colour fixed glazed windows/ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Note: For uPVC frame, sash and mullion extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. (Area upto 0.75 sqm.) (9.147B.1) | BI01010001010000000000000515BI0100001146 | 21 | sqm | 6478.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Providing and fixing factory made uPVC white colour sliding glazed window upto 1.50 m in height dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately) Note: For uPVC frame and sash extruded profiles minus 5% tolerance in dimension i.e. in depth & width of profile shall be acceptable. Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. Three track three panels sliding window with fly proof SS wire mesh (Two nos. glazed & one no. wire mesh panels) made of (small series) frame 92 x 44 mm & sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area of window upto 1.75 sqm). (9.147D.2) | BI01010001010000000000000515BI0100001147 | 21 | sqm | 8954.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (13.99.1) | BI01010001010000000000000515BI0100001148 | 36 | sqm | 79.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :Old work (one or more coats) (13.90.1) | BI01010001010000000000000515BI0100001149 | 200 | sqm | 54.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Providing and fixing in position wall panelling at all heights with integral densified calcium silicate panels/tiles of size 595 x 595mm, having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity <0.043 W/m K as per ASTM 518:1991, comprising of a frame made from especially fabricated galvanised mild steel sheet 0.50 mm thick pressed section (galvanizing @120 grams per sqm including both sides) i.e.vertical studs of size 48 x 34 x 36 mm are placed at 600mm center to center in a floor and ceiling channel section of size 50 x 32m fixed to the floor and soffit at 600mm centers using 12mm dia,50mm long wedge type expanded zinc alloy dash fastner with 10mm bolt. This same channel is then to be fixed in horiziontal direction at 600mm center to center so as to form a grid of 600mm x 600mm. Glasswool of50mm thickness is then to be inserted in the slots and finally calciumsilicate non combustible panels/tiles are to be screw fixed with self tapping pan head nickel coated mild steel screws of size 13 x 3.2mmon to this grid leaving an even groove of 1 mm between the panels.The joints between the panels are to be duly jointed and finishedusing recommended jointing calcium silicate based compound and fiber joint tape roll 50mm wide (90 metre )roll and two coats of primer suitable for panelling as per manufacturer’s specification as per direction of Engineer-in-Charge all complete. With 15 mm thick fully perforated square/butt edge light weight calcium silicate panels/ tiles (26.24.1) | BI01010001010000000000000515BI0100001150 | 547 | sqm | 2736.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work (13.60.1) | BI01010001010000000000000515BI0100001151 | 547 | sqm | 128.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. (15.60) | BI01010001010000000000000515BI0100001152 | 2 | cum | 138.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Providing and Displaying Topiary of Ficus Panda well developed with fresh& healthy foliage with 3 to 4 Ball and 60 to 75 cm spread each Ball, 135 to150 cm ht., in 35 cm Cement Tray /Cement Pot as per direction of the officer-in-charge. (5.40) | BI01010001010000000000000515BI0100001138 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
[52 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
|  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information