## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: BOQ for SITC of outdoor CPRI certified Electrical cubical main panel in IMD and extention of new Electrical line Division / Department office in the Metallurgical Engg IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [53 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group C | BI01010001010000000000000515BI0100001114 | 20 | Points | 1053 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21060 | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group C | BI01010001010000000000000515BI0100001114 | 20 | Points | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 10 | Mtrs | 177 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 10 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 20 | Mtrs | 213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 20 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 20 | Mtrs | 419 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 2.3 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 20 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 20 | Mtrs | 577 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 2.4 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 20 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001120 | 10 | Nos | 426 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001120 | 10 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001121 | 10 | Nos | 526 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 4 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001121 | 10 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Double Pole 32/40 A MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001122 | 4 | Nos | 591 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 5 | Double Pole 32/40 A MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001122 | 4 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001123 | 4 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 6 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001123 | 4 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | 4 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001125 | 4 | Nos | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 7 | 4 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001125 | 4 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | 2 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001127 | 4 | Nos | 570 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 8 | 2 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001127 | 4 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Supplying , installation testing and commissioning of FN 200 Amp. TPN tap off box Main switch of 1.6mm thick sheet steel encloser duly painted with powder coating on existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require | BI01010001010000000000000515BI0100001129 | 2 | Nos. | 18482 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 9 | Supplying , installation testing and commissioning of FN 200 Amp. TPN tap off box Main switch of 1.6mm thick sheet steel encloser duly painted with powder coating on existing rising main complete wit TPN disconnector FSU and HRC fuse , connection , eartihing etc. as require | BI01010001010000000000000515BI0100001129 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
10 | Supplying .insalling on wall testing & commissioning of following capacity rising mains TPN 400 Amp Copper Bus Bar L-600 mm Width- 50 of 6 mm thick IP 42 sheet steel encloser duly paited with powder coating bus havibg current rating 315amp 415Volt 3 phase, 4 wire 50hz AC Supply extension joint fire proff jointed and earthing expansion joint, thrust. insulator pads including within runs of G.I Strip | BI01010001010000000000000515BI0100001130 | 1 | Nos. | 10500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 10 | Supplying .insalling on wall testing & commissioning of following capacity rising mains TPN 400 Amp Copper Bus Bar L-600 mm Width- 50 of 6 mm thick IP 42 sheet steel encloser duly paited with powder coating bus havibg current rating 315amp 415Volt 3 phase, 4 wire 50hz AC Supply extension joint fire proff jointed and earthing expansion joint, thrust. insulator pads including within runs of G.I Strip | BI01010001010000000000000515BI0100001130 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
11 | Supply and laying of 3.5CX50 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface xisting RCC/ HUME/ METAL pipe as required. as required Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001131 | 25 | Mtr | 651 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 11 | Supply and laying of 3.5CX50 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface xisting RCC/ HUME/ METAL pipe as required. as required Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001131 | 25 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | Supply and laying of 3.5CX70 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface xisting RCC/ HUME/ METAL pipe as required. as required Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001132 | 95 | Mtr | 784 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 12 | Supply and laying of 3.5CX70 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface xisting RCC/ HUME/ METAL pipe as required. as required Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001132 | 95 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supply and laying of 3.5CX95 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required | BI01010001010000000000000515BI0100001133 | 50 | Mtr | 971 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 13 | Supply and laying of 3.5CX95 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required | BI01010001010000000000000515BI0100001133 | 50 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supply and laying of 3.5CX185Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface & existing RCC/ HUME/ METAL pipe as required.as required | BI01010001010000000000000515BI0100001134 | 75 | Mtr | 1288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 14 | Supply and laying of 3.5CX185Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface & existing RCC/ HUME/ METAL pipe as required.as required | BI01010001010000000000000515BI0100001134 | 75 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Supply and laying of 3.5CX185 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing direct in ground including excavation, sand cushioning ,protective covering and refiling in the soil. etc as required. Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001136 | 95 | Mtr | 1542 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15 | Supply and laying of 3.5CX185 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing direct in ground including excavation, sand cushioning ,protective covering and refiling in the soil. etc as required. Make- Gloster,Polycab KEI, | BI01010001010000000000000515BI0100001136 | 95 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 185 sq. mm (57 mm) | BI01010001010000000000000515BI0100001137 | 6 | Nos. | 746 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 185 sq. mm (57 mm) | BI01010001010000000000000515BI0100001137 | 6 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15.2 | 3½ X 150 sq. mm (50 mm) | BI01010001010000000000000515BI0100001138 | 4 | Nos. | 579 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.2 | 3½ X 150 sq. mm (50 mm) | BI01010001010000000000000515BI0100001138 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15.3 | 3½ X 95 sq. mm (38 mm) | BI01010001010000000000000515BI0100001139 | 4 | Nos. | 502 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.3 | 3½ X 95 sq. mm (38 mm) | BI01010001010000000000000515BI0100001139 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15.4 | 3½ X 70 sq. mm (35 mm) | BI01010001010000000000000515BI0100001141 | 4 | Nos. | 360 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.4 | 3½ X 70 sq. mm (35 mm) | BI01010001010000000000000515BI0100001141 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15.5 | 3½ X 50 sq. mm (28 mm) | BI01010001010000000000000515BI0100001142 | 6 | Nos. | 300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 15.5 | 3½ X 50 sq. mm (28 mm) | BI01010001010000000000000515BI0100001142 | 6 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.1 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. | BI01010001010000000000000515BI0100001143 | 1 | Nos. | 3872 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 16.1 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. | BI01010001010000000000000515BI0100001143 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.2 | 3½ X 70 sq. | BI01010001010000000000000515BI0100001144 | 1 | Nos. | 3713 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 16.2 | 3½ X 70 sq. | BI01010001010000000000000515BI0100001144 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.3 | 3½ X 95 sq. | BI01010001010000000000000515BI0100001145 | 1 | Nos. | 4387 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 16.3 | 3½ X 95 sq. | BI01010001010000000000000515BI0100001145 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Supply, Installation ,testing & Commisionioning (SITC) of outdoor CPRI certified cubical Feeder pilar with EC grade Al busbar capacity 630Amp. 100% netural suitable >25ka for 3 sec for fault level ,compatiable for following incomming & outgoing . Custum built self fabricated out of 16SWG , CRCA sheet Foot mounted type Panel Furnished with siemen gray shade powder coated paint after necessary pre treatment fully dust & vermin proof, Copper wire ,Lugs and Netural & Insulating Material Engineering and Labor Charges , Panle size (H-W-D)mm. Details as Incoming-SFU 400 Amp. 2 nos. & 6 nos-HRC fuse, Incomer All Busbar capacity 400Amp. Outgoing TP MCCB-315 Amp. 3 nos Deatils TP MCCB-250 Amp. 3 Nos, TP MCCB-3 Nos 160 Amp. and MCCB 125Amp.-2 Nos 63Amp TP MCCB-06 nos. (Range 40A -630A , Protaction against overload, and short circuit) , Note-MCCB Make of Switchgear Legrand, L& T Simenice/Schneider/Indoasean | BI01010001010000000000000515BI0100001146 | 1 | Nos. | 485000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 17 | Supply, Installation ,testing & Commisionioning (SITC) of outdoor CPRI certified cubical Feeder pilar with EC grade Al busbar capacity 630Amp. 100% netural suitable >25ka for 3 sec for fault level ,compatiable for following incomming & outgoing . Custum built self fabricated out of 16SWG , CRCA sheet Foot mounted type Panel Furnished with siemen gray shade powder coated paint after necessary pre treatment fully dust & vermin proof, Copper wire ,Lugs and Netural & Insulating Material Engineering and Labor Charges , Panle size (H-W-D)mm. Details as Incoming-SFU 400 Amp. 2 nos. & 6 nos-HRC fuse, Incomer All Busbar capacity 400Amp. Outgoing TP MCCB-315 Amp. 3 nos Deatils TP MCCB-250 Amp. 3 Nos, TP MCCB-3 Nos 160 Amp. and MCCB 125Amp.-2 Nos 63Amp TP MCCB-06 nos. (Range 40A -630A , Protaction against overload, and short circuit) , Note-MCCB Make of Switchgear Legrand, L& T Simenice/Schneider/Indoasean | BI01010001010000000000000515BI0100001146 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001147 | 2 | Nos. | 4288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 18 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001147 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001148 | 47 | Mtr | 139 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 19 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001148 | 47 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20.1 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 150 mm dia | BI01010001010000000000000515BI0100001149 | 10 | Mtr | 1793 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 20.1 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 150 mm dia | BI01010001010000000000000515BI0100001149 | 10 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20.2 | 80mm dia | BI01010001010000000000000515BI0100001150 | 12 | Mtr | 854 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! |  | 20.2 | 80mm dia | BI01010001010000000000000515BI0100001150 | 12 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information