## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: SITC of Electrical installation, wiring, illumination, cabeling, power point, light & fan point works in the CoW office, S N Bose, Limbdi, Rajputana, Vishvakarma, S. C. Dey, Ramanujam, Dhanarajgiri, Satish Dhawan, Aryabhattya, GSMC old & new, Nivedita Girls and C V Raman Hostels IIT(BHU).
Contract No: IIT(BHU)/IWD/ET-05/2024-25/1146 Dated 30.08.2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group C | BI01010001010000000000000515BI0100001114 | 150 | Points | 1053 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group C | BI01010001010000000000000515BI0100001114 | 150 | Points | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 1600 | Mtrs | 177 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 1600 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 648 | Mtrs | 213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 648 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 510 | Mtrs | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 510 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 4X4sq. mm + 2X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 120 | Mtrs | 327 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.4 | 4X4sq. mm + 2X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 120 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.5 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 20 | Mtrs | 419 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.5 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 20 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.6 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001121 | 60 | Mtrs | 577 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.6 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001121 | 60 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001122 | 90 | Nos | 426 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001122 | 90 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001123 | 118 | Nos | 526 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001123 | 118 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make- L & T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001124 | 70 | Nos | 679 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make- L & T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001124 | 70 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) Make- L& T/ABB/LEGRAND /INDOASEAN 12way , Double door | BI01010001010000000000000515BI0100001126 | 4 | Nos | 2183 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) Make- L& T/ABB/LEGRAND /INDOASEAN 12way , Double door | BI01010001010000000000000515BI0100001126 | 4 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001128 | 6 | Nos | 4892 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001128 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
8.1 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCCB TPDB is normally used where 3 phase outlets are required.) Make- L & T/ABB/LEGRAND /INDOASEAN 8 way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001130 | 2 | Nos | 8234 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.1 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCCB TPDB is normally used where 3 phase outlets are required.) Make- L & T/ABB/LEGRAND /INDOASEAN 8 way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001130 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
8.2 | 4way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001131 | 2 | Nos | 6009 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.2 | 4way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001131 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required 125 A, 16 kA,TP MCCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001133 | 4 | Nos | 7979 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required 125 A, 16 kA,TP MCCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001133 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
10.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Schneider Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001135 | 98 | Nos | 212 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Schneider Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001135 | 98 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
10.2 | Double Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001136 | 8 | Nos | 591 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.2 | Double Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001136 | 8 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
10.3 | Triple Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001137 | 6 | Nos | 878 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.3 | Triple Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001137 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
10.4 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001138 | 6 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.4 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001138 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
11 | 4 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001139 | 6 | Nos | 670 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | 4 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001139 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | 2 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001140 | 5 | Nos | 570 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | 2 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001140 | 5 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | BI01010001010000000000000515BI0100001141 | 20 | Nos | 124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | BI01010001010000000000000515BI0100001141 | 20 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | BI01010001010000000000000515BI0100001142 | 20 | Nos | 34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | BI01010001010000000000000515BI0100001142 | 20 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15.1 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 5/6 A switch | BI01010001010000000000000515BI0100001144 | 50 | Nos | 90 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.1 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required 5/6 A switch | BI01010001010000000000000515BI0100001144 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15.2 | 3 pin 5/6 A socket outlet | BI01010001010000000000000515BI0100001145 | 50 | Nos | 118 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15.2 | 3 pin 5/6 A socket outlet | BI01010001010000000000000515BI0100001145 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.1 | Supplying and fixing following size/ modules, GI/PVC box alongwith modular base & cover plate for modular switches in recess/Surface etc. as required. 1 or 2 Module (75mmX75mm) | BI01010001010000000000000515BI0100001147 | 50 | Nos | 258 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.1 | Supplying and fixing following size/ modules, GI/PVC box alongwith modular base & cover plate for modular switches in recess/Surface etc. as required. 1 or 2 Module (75mmX75mm) | BI01010001010000000000000515BI0100001147 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.2 | 4 Module (125mmX75mm) | BI01010001010000000000000515BI0100001148 | 50 | Nos | 305 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.2 | 4 Module (125mmX75mm) | BI01010001010000000000000515BI0100001148 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.3 | 6 Module (200mmX75mm) | BI01010001010000000000000515BI0100001149 | 50 | Nos | 354 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.3 | 6 Module (200mmX75mm) | BI01010001010000000000000515BI0100001149 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.4 | 8 Module (125mmX125mm) | BI01010001010000000000000515BI0100001150 | 50 | Nos | 407 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.4 | 8 Module (125mmX125mm) | BI01010001010000000000000515BI0100001150 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16.5 | 12 Module (200mmX150mm | BI01010001010000000000000515BI0100001151 | 50 | Nos | 461 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16.5 | 12 Module (200mmX150mm | BI01010001010000000000000515BI0100001151 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Providing,installation, fixing,Connecting and Testing of LED Batten,4 Feet,20W, as per site requirment. (Make: Wipro/ Philipse/CG/Polycab/ ) | BI01010001010000000000000515BI0100001152 | 365 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Providing,installation, fixing,Connecting and Testing of LED Batten,4 Feet,20W, as per site requirment. (Make: Wipro/ Philipse/CG/Polycab/ ) | BI01010001010000000000000515BI0100001152 | 365 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing,Installation,Fixing,Connecting and Testing of IP 66,System efficacy,>110/120 LPW, LED Flood Light,100 W, as per site requirment. (Make: Philipse/ Wipro/Crompton / Polycab ) | BI01010001010000000000000515BI0100001154 | 65 | Nos | 8452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18 | Providing,Installation,Fixing,Connecting and Testing of IP 66,System efficacy,>110/120 LPW, LED Flood Light,100 W, as per site requirment. (Make: Philipse/ Wipro/Crompton / Polycab ) | BI01010001010000000000000515BI0100001154 | 65 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing,Installation,Fixing,Connecting and Testing of IP 66,System efficacy,>110/120 LPW LED street Light,70 W, as per site requirment. (Philipse/ Wipro/Crompton / Polycab ) | BI01010001010000000000000515BI0100001155 | 20 | Nos | 6118 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19 | Providing,Installation,Fixing,Connecting and Testing of IP 66,System efficacy,>110/120 LPW LED street Light,70 W, as per site requirment. (Philipse/ Wipro/Crompton / Polycab ) | BI01010001010000000000000515BI0100001155 | 20 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Supply & Installation of 12Watt ,System efficacy,>110/120 LPW round surface mounted,LED Panel ceiling Surface Light Make Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001156 | 50 | Nos | 1384 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20 | Supply & Installation of 12Watt ,System efficacy,>110/120 LPW round surface mounted,LED Panel ceiling Surface Light Make Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001156 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Supplying and fixing 15 W LED bulb Make-Philpse/Wipro/Syska | BI01010001010000000000000515BI0100001157 | 10 | Nos | 115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21 | Supplying and fixing 15 W LED bulb Make-Philpse/Wipro/Syska | BI01010001010000000000000515BI0100001157 | 10 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed). (Make: Usha / Crompton / Orient) | BI01010001010000000000000515BI0100001158 | 60 | Nos | 2450 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 22 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed). (Make: Usha / Crompton / Orient) | BI01010001010000000000000515BI0100001158 | 60 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001159 | 19 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 23 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001159 | 19 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Supplying and fixing of 230VAC 1Ph. 450 mm exhaust Fan with sweep feature. (Make: Usha / Crompton / Orient) | BI01010001010000000000000515BI0100001160 | 11 | Nos | 5200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 24 | Supplying and fixing of 230VAC 1Ph. 450 mm exhaust Fan with sweep feature. (Make: Usha / Crompton / Orient) | BI01010001010000000000000515BI0100001160 | 11 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001161 | 50 | Nos | 3150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001161 | 50 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001162 | 10 | Nos | 3081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001162 | 10 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Supplying,Cutting of huck , painting and fixing of MS Down rod conduit pipe for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001163 | 19 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 27 | Supplying,Cutting of huck , painting and fixing of MS Down rod conduit pipe for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001163 | 19 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001164 | 39 | Nos | 288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 28 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001164 | 39 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Supplying and laying of 25 sq. mm multi strand single core unarmoured copper cable/wire, PVC insulated of 1.1 kV grade and making end termination with brass compression gland ,Copper lugs and insulator base 125 Amp as required for termination of cable.Make: KEI/ Gloster/ Universal./Polycab | BI01010001010000000000000515BI0100001165 | 5 | Meter | 776 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 29 | Supplying and laying of 25 sq. mm multi strand single core unarmoured copper cable/wire, PVC insulated of 1.1 kV grade and making end termination with brass compression gland ,Copper lugs and insulator base 125 Amp as required for termination of cable.Make: KEI/ Gloster/ Universal./Polycab | BI01010001010000000000000515BI0100001165 | 5 | Meter | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Supplying and laying of 1.1KV grade 4 core × 10sqmm AYFY Al cable single run PVC insulated and PVC sheathed / XLPE power cable in the pvc pipe in the surface including excavation and refilling the trench etc as required but excluding sand cushioning and protective covering Make: KEI/ Gloster/ Universal./Polycab | BI01010001010000000000000515BI0100001166 | 80 | Mtr | 369 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 30 | Supplying and laying of 1.1KV grade 4 core × 10sqmm AYFY Al cable single run PVC insulated and PVC sheathed / XLPE power cable in the pvc pipe in the surface including excavation and refilling the trench etc as required but excluding sand cushioning and protective covering Make: KEI/ Gloster/ Universal./Polycab | BI01010001010000000000000515BI0100001166 | 80 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. 3.5 core 50 sq. mm | BI01010001010000000000000515BI0100001168 | 80 | Mtr | 605 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 31 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. 3.5 core 50 sq. mm | BI01010001010000000000000515BI0100001168 | 80 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Supplying ,fixing Connecting & Testing Insect Killer Make-Fonda /Trinity/Vgaurd or equivalent Make: KEI/ Gloster/ Universal./Polycab | BI01010001010000000000000515BI0100001169 | 26 | Nos | 4200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 32 | Supplying ,fixing Connecting & Testing Insect Killer Make-Fonda /Trinity/Vgaurd or equivalent Make: KEI/ Gloster/ Universal./Polycab | BI01010001010000000000000515BI0100001169 | 26 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Repairing of existing old wiring/ board/main switch any loose electrical system ,Shadeling of cable and Dismentaling of old unused electrical installation as per the site requirenmen and engineer incharge instructions. | BI01010001010000000000000515BI0100001170 | 1 | Job | 14000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 33 | Repairing of existing old wiring/ board/main switch any loose electrical system ,Shadeling of cable and Dismentaling of old unused electrical installation as per the site requirenmen and engineer incharge instructions. | BI01010001010000000000000515BI0100001170 | 1 | Job | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Supply and installation of round MS bracket for mounting of flood light in the existing pole at the coartyard | BI01010001010000000000000515BI0100001171 | 2 | Nos | 2500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 34 | Supply and installation of round MS bracket for mounting of flood light in the existing pole at the coartyard | BI01010001010000000000000515BI0100001171 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Supply and installation of 63-125 A HRC Fuse in the existing main switch /feeder pilar | BI01010001010000000000000515BI0100001172 | 5 | Nos | 600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 35 | Supply and installation of 63-125 A HRC Fuse in the existing main switch /feeder pilar | BI01010001010000000000000515BI0100001172 | 5 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | Fixing of 300/450 mm Sweep Exhaust fan | BI01010001010000000000000515BI0100001173 | 20 | Nos | 386 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 36 | Fixing of 300/450 mm Sweep Exhaust fan | BI01010001010000000000000515BI0100001173 | 20 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information