## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Renovation of 8 Nos of bathrooms both side in Ground Floor,First Floor,Second Floor & Third Floor in GSC Extn. Hostel, IIT(BHU).
Contract No: <Enter Contract No Details>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm (15.23.1) | BI01010001010000000000000515BI0100001113 | 140 | sqm | 31.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4417 | 4417 | INR Four Thousand Four Hundred & Seventeen Only | 1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm (15.23.1) | BI01010001010000000000000515BI0100001113 | 140 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001114 | 561 | sqm | 22.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12566.4 | 12566.4 | INR Twelve Thousand Five Hundred & Sixty Six and Paise Forty Only | 2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001114 | 561 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolishing cement concrete manually / by mechanical means and disposal of material within 50 metres lead as per direction of Engineer in charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001115 | 40 | cum | 997.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39882 | 39882 | INR Thirty Nine Thousand Eight Hundred & Eighty Two Only | 3 | Demolishing cement concrete manually / by mechanical means and disposal of material within 50 metres lead as per direction of Engineer in charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001115 | 40 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Demolishing mud phaska in terrracing and disposal of material within 50 metres lead (15.27) | BI01010001010000000000000515BI0100001116 | 40 | cum | 373.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14958 | 14958 | INR Fourteen Thousand Nine Hundred & Fifty Eight Only | 4 | Demolishing mud phaska in terrracing and disposal of material within 50 metres lead (15.27) | BI01010001010000000000000515BI0100001116 | 40 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001117 | 3 | cum | 842.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2528.25 | 2528.25 | INR Two Thousand Five Hundred & Twenty Eight and Paise Twenty Five Only | 5 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001117 | 3 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). (22.3) | BI01010001010000000000000515BI0100001118 | 82 | sqm | 505.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41483.8 | 41483.8 | INR Forty One Thousand Four Hundred & Eighty Three and Paise Eighty Only | 6 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). (22.3) | BI01010001010000000000000515BI0100001118 | 82 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 12 mm cement plaster of mix : 1:4 (1 cement : 4 coarse sand) (13.4.1) | BI01010001010000000000000515BI0100001119 | 82 | sqm | 180.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14829.7 | 14829.7 | INR Fourteen Thousand Eight Hundred & Twenty Nine and Paise Seventy Only | 7 | 12 mm cement plaster of mix : 1:4 (1 cement : 4 coarse sand) (13.4.1) | BI01010001010000000000000515BI0100001119 | 82 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001120 | 477 | sqm | 87.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41665.95 | 41665.95 | INR Forty One Thousand Six Hundred & Sixty Five and Paise Ninety Five Only | 8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001120 | 477 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001121 | 533 | sqm | 93.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49942.1 | 49942.1 | INR Forty Nine Thousand Nine Hundred & Forty Two and Paise Ten Only | 9 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001121 | 533 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (14.54.1) | BI01010001010000000000000515BI0100001122 | 52 | sqm | 51.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2667.6 | 2667.6 | INR Two Thousand Six Hundred & Sixty Seven and Paise Sixty Only | 10 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (14.54.1) | BI01010001010000000000000515BI0100001122 | 52 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001123 | 224 | Kg | 67.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15142.4 | 15142.4 | INR Fifteen Thousand One Hundred & Forty Two and Paise Forty Only | 11 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001123 | 224 | Kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001125 | 1 | Nos | 99.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 99.7 | 99.7 | INR Ninety Nine and Paise Seventy Only | 12 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001125 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001126 | 1 | Nos | 212.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 212.45 | 212.45 | INR Two Hundred & Twelve and Paise Forty Five Only | 13 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001126 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 2nd class teak wood beading 62X19 mm (9.135.1 ) | BI01010001010000000000000515BI0100001127 | 1 | sqm | 1343.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1343.55 | 1343.55 | INR One Thousand Three Hundred & Forty Three and Paise Fifty Five Only | 14 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 2nd class teak wood beading 62X19 mm (9.135.1 ) | BI01010001010000000000000515BI0100001127 | 1 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level (a) 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | BI01010001010000000000000515BI0100001128 | 3 | cum | 4478.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13434.45 | 13434.45 | INR Thirteen Thousand Four Hundred & Thirty Four and Paise Forty Five Only | 15 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level (a) 1:4:8 (1 Cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | BI01010001010000000000000515BI0100001128 | 3 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.1 | (b) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (4.1.3) | BI01010001010000000000000515BI0100001129 | 5.5 | cum | 5481.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30150.73 | 30150.73 | INR Thirty Thousand One Hundred & Fifty and Paise Seventy Three Only | 15.1 | (b) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (4.1.3) | BI01010001010000000000000515BI0100001129 | 5.5 | cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Providing and fixing soil, waste and vent pipes : 100 mm dia. Centrifugally cast (spun) iron socket & spigot (S &S) pipe as per IS :3989 (17.35.1.2) | BI01010001010000000000000515BI0100001130 | 296 | metre | 921.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 272808.4 | 272808.4 | INR Two Lakh Seventy Two Thousand Eight Hundred & Eight and Paise Forty Only | 16 | Providing and fixing soil, waste and vent pipes : 100 mm dia. Centrifugally cast (spun) iron socket & spigot (S &S) pipe as per IS :3989 (17.35.1.2) | BI01010001010000000000000515BI0100001130 | 296 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Providing and fixing collar: 100 mm Sand cast iron S&S as per IS: - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001131 | 40 | Nos | 351.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14048 | 14048 | INR Fourteen Thousand &Forty Eight Only | 17 | Providing and fixing collar: 100 mm Sand cast iron S&S as per IS: - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001131 | 40 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: 100 mm (17.58.1) | BI01010001010000000000000515BI0100001132 | 208 | Nos | 309.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64469.6 | 64469.6 | INR Sixty Four Thousand Four Hundred & Sixty Nine and Paise Sixty Only | 18 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: 100 mm (17.58.1) | BI01010001010000000000000515BI0100001132 | 208 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm Sand cast iron S&S as per IS:- 3989 (17.38.1.2) | BI01010001010000000000000515BI0100001133 | 45 | Nos | 384.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17320.5 | 17320.5 | INR Seventeen Thousand Three Hundred & Twenty and Paise Fifty Only | 19 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm Sand cast iron S&S as per IS:- 3989 (17.38.1.2) | BI01010001010000000000000515BI0100001133 | 45 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Providing and fixing plain bend of required degree. 100 mm Sand cast iron S&S as per IS: - 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001134 | 60 | Nos | 334.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20097 | 20097 | INR Twenty Thousand &Ninety Seven Only | 20 | Providing and fixing plain bend of required degree. 100 mm Sand cast iron S&S as per IS: - 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001134 | 60 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing double equal plain junction of required degree. 100x100x100x100mm Centrifugally cast (spun) iron S&S as per IS: - 3989 (17.42.1.2) | BI01010001010000000000000515BI0100001135 | 36 | Nos | 747.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26902.8 | 26902.8 | INR Twenty Six Thousand Nine Hundred & Two and Paise Eighty Only | 21 | Providing and fixing double equal plain junction of required degree. 100x100x100x100mm Centrifugally cast (spun) iron S&S as per IS: - 3989 (17.42.1.2) | BI01010001010000000000000515BI0100001135 | 36 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100mm Sand cast iron S&S as per IS: - 3989 (17.43.1.2) | BI01010001010000000000000515BI0100001136 | 36 | Nos | 623 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22428 | 22428 | INR Twenty Two Thousand Four Hundred & Twenty Eight Only | 22 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100mm Sand cast iron S&S as per IS: - 3989 (17.43.1.2) | BI01010001010000000000000515BI0100001136 | 36 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Providing and fixing single equal plain junction of required degree. 100x100x100mm Sand cast iron S&S as per IS: - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001137 | 78 | Nos | 575.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44881.2 | 44881.2 | INR Forty Four Thousand Eight Hundred & Eighty One and Paise Twenty Only | 23 | Providing and fixing single equal plain junction of required degree. 100x100x100mm Sand cast iron S&S as per IS: - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001137 | 78 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: - 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001138 | 74 | Nos | 1034.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76549.3 | 76549.3 | INR Seventy Six Thousand Five Hundred & Forty Nine and Paise Thirty Only | 24 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: - 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001138 | 74 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Providing and fixing 100mm sand cast Iron grating for gully trap.(17.29) | BI01010001010000000000000515BI0100001139 | 77 | Nos | 29.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2252.25 | 2252.25 | INR Two Thousand Two Hundred & Fifty Two and Paise Twenty Five Only | 25 | Providing and fixing 100mm sand cast Iron grating for gully trap.(17.29) | BI01010001010000000000000515BI0100001139 | 77 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter: 100 mm (17.59.1) | BI01010001010000000000000515BI0100001140 | 176 | each | 62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10912 | 10912 | INR Ten Thousand Nine Hundred & Twelve Only | 26 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter: 100 mm (17.59.1) | BI01010001010000000000000515BI0100001140 | 176 | each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests. (17.1.1) | BI01010001010000000000000515BI0100001141 | 31 | Nos | 3494.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 108320.2 | 108320.2 | INR One Lakh Eight Thousand Three Hundred & Twenty and Paise Twenty Only | 27 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests. (17.1.1) | BI01010001010000000000000515BI0100001141 | 31 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001142 | 7 | Nos | 3418.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23930.9 | 23930.9 | INR Twenty Three Thousand Nine Hundred & Thirty and Paise Ninety Only | 28 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001142 | 7 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001143 | 32 | Nos | 2020.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64659.2 | 64659.2 | INR Sixty Four Thousand Six Hundred & Fifty Nine and Paise Twenty Only | 29 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001143 | 32 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001144 | 36 | Nos | 75.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2721.6 | 2721.6 | INR Two Thousand Seven Hundred & Twenty One and Paise Sixty Only | 30 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001144 | 36 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moukded frame of approved make and shade with 6mm thick hard board backing: Rectangular shape 453x357mm (17.32.2) | BI01010001010000000000000515BI0100001145 | 33 | Nos | 752.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24842.4 | 24842.4 | INR Twenty Four Thousand Eight Hundred & Forty Two and Paise Forty Only | 31 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moukded frame of approved make and shade with 6mm thick hard board backing: Rectangular shape 453x357mm (17.32.2) | BI01010001010000000000000515BI0100001145 | 33 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass including painting of fittings and cutting and making good the walls and floors wherever required: (a) Single half stall urinal with 5 litre P.V.C. automatic flushing cistern. (17.5.1) | BI01010001010000000000000515BI0100001146 | 7 | Nos | 6187.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43311.8 | 43311.8 | INR Forty Three Thousand Three Hundred & Eleven and Paise Eighty Only | 32 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass including painting of fittings and cutting and making good the walls and floors wherever required: (a) Single half stall urinal with 5 litre P.V.C. automatic flushing cistern. (17.5.1) | BI01010001010000000000000515BI0100001146 | 7 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32.1 | (b) Range of two half stall urinals with 5 litre P.V.C.automatic flushing cistern (17.5.2) | BI01010001010000000000000515BI0100001147 | 13 | Nos | 9317.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 121128.8 | 121128.8 | INR One Lakh Twenty One Thousand One Hundred & Twenty Eight and Paise Eighty Only | 32.1 | (b) Range of two half stall urinals with 5 litre P.V.C.automatic flushing cistern (17.5.2) | BI01010001010000000000000515BI0100001147 | 13 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001148 | 6 | each | 391.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2346.9 | 2346.9 | INR Two Thousand Three Hundred & Forty Six and Paise Ninety Only | 33 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001148 | 6 | each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Reinforced cement concrete work in beams, suspended floors, roofs having slope upto 15°, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor five level excluding the cost of centering, shuttering, finishing and reinforcement with (a) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) (5.3) | BI01010001010000000000000515BI0100001149 | 2 | cum | 7390.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14781.6 | 14781.6 | INR Fourteen Thousand Seven Hundred & Eighty One and Paise Sixty Only | 34 | Reinforced cement concrete work in beams, suspended floors, roofs having slope upto 15°, landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases upto floor five level excluding the cost of centering, shuttering, finishing and reinforcement with (a) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) (5.3) | BI01010001010000000000000515BI0100001149 | 2 | cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform.(5.9.3) | BI01010001010000000000000515BI0100001150 | 20 | sqm | 422.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8446 | 8446 | INR Eight Thousand Four Hundred & Forty Six Only | 35 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and access platform.(5.9.3) | BI01010001010000000000000515BI0100001150 | 20 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete . Thermo-Mechanically Treated bars. (5.22.6) | BI01010001010000000000000515BI0100001151 | 110 | Kg | 56.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6226 | 6226 | INR Six Thousand Two Hundred & Twenty Six Only | 36 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete . Thermo-Mechanically Treated bars. (5.22.6) | BI01010001010000000000000515BI0100001151 | 110 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
37 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001152 | 21 | sqm | 684.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14368.2 | 14368.2 | INR Fourteen Thousand Three Hundred & Sixty Eight and Paise Twenty Only | 37 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001152 | 21 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall (a) 15mm dia. nominal bore (18.10.1) | BI01010001010000000000000515BI0100001153 | 225 | metre | 186.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41940 | 41940 | INR Forty One Thousand Nine Hundred & Forty Only | 38 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall (a) 15mm dia. nominal bore (18.10.1) | BI01010001010000000000000515BI0100001153 | 225 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38.1 | (b) 25mm dia. nominal bore (18.10.3) | BI01010001010000000000000515BI0100001154 | 97.5 | metre | 247.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24165.38 | 24165.38 | INR Twenty Four Thousand One Hundred & Sixty Five and Paise Thirty Eight Only | 38.1 | (b) 25mm dia. nominal bore (18.10.3) | BI01010001010000000000000515BI0100001154 | 97.5 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
39 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 a) 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001155 | 48 | Nos | 371.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17841.6 | 17841.6 | INR Seventeen Thousand Eight Hundred & Forty One and Paise Sixty Only | 39 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 a) 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001155 | 48 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
40 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 a) 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001156 | 90 | Nos | 545.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49135.5 | 49135.5 | INR Forty Nine Thousand One Hundred & Thirty Five and Paise Fifty Only | 40 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 a) 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001156 | 90 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
41 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, Weighing not less than 40gms.(18.64) | BI01010001010000000000000515BI0100001157 | 30 | each | 100.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3021 | 3021 | INR Three Thousand &Twenty One Only | 41 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, Weighing not less than 40gms.(18.64) | BI01010001010000000000000515BI0100001157 | 30 | each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Making connection of G.I. distribution branch with G.I.main of following sizes by providing and fixing tee,including cutting and threading the pipe etc. complete. 25 to 40 mm nominal bore (18.13.1) | BI01010001010000000000000515BI0100001158 | 10 | Nos | 394.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3941.5 | 3941.5 | INR Three Thousand Nine Hundred & Forty One and Paise Fifty Only | 42 | Making connection of G.I. distribution branch with G.I.main of following sizes by providing and fixing tee,including cutting and threading the pipe etc. complete. 25 to 40 mm nominal bore (18.13.1) | BI01010001010000000000000515BI0100001158 | 10 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
43 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work. 25 mm diameter pipe. (18.38.3) | BI01010001010000000000000515BI0100001159 | 98.8 | metre | 15.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1531.4 | 1531.4 | INR One Thousand Five Hundred & Thirty One and Paise Forty Only | 43 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work. 25 mm diameter pipe. (18.38.3) | BI01010001010000000000000515BI0100001159 | 98.8 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
44 | Providing and fixing stone slab table rubbed, edges rounded and polished of size 75 x 50 cm deep and 1.8 cm thick fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size ) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved ahade (8.10.2) | BI01010001010000000000000515BI0100001160 | 12 | sqm | 2831.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33983.4 | 33983.4 | INR Thirty Three Thousand Nine Hundred & Eighty Three and Paise Forty Only | 44 | Providing and fixing stone slab table rubbed, edges rounded and polished of size 75 x 50 cm deep and 1.8 cm thick fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size ) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved ahade (8.10.2) | BI01010001010000000000000515BI0100001160 | 12 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
45 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001161 | 1386 | Kg | 85.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119126.7 | 119126.7 | INR One Lakh Nineteen Thousand One Hundred & Twenty Six and Paise Seventy Only | 45 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001161 | 1386 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
46 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001162 | 147 | sqm | 2372.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 348801.6 | 348801.6 | INR Three Lakh Forty Eight Thousand Eight Hundred & One and Paise Sixty Only | 46 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001162 | 147 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001163 | 84 | sqm | 112.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9433.2 | 9433.2 | INR Nine Thousand Four Hundred & Thirty Three and Paise Twenty Only | 47 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001163 | 84 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
48 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001164 | 118 | Kg | 355.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41913.6 | 41913.6 | INR Forty One Thousand Nine Hundred & Thirteen and Paise Sixty Only | 48 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001164 | 118 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001165 | 63 | Nos | 51.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3219.3 | 3219.3 | INR Three Thousand Two Hundred & Nineteen and Paise Thirty Only | 49 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001165 | 63 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
50 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001166 | 70 | Nos | 88.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6167 | 6167 | INR Six Thousand One Hundred & Sixty Seven Only | 50 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001166 | 70 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001167 | 71 | Nos | 189.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13433.2 | 13433.2 | INR Thirteen Thousand Four Hundred & Thirty Three and Paise Twenty Only | 51 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001167 | 71 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
52 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work (13.61.1) | BI01010001010000000000000515BI0100001168 | 408 | sqm | 78.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31987.2 | 31987.2 | INR Thirty One Thousand Nine Hundred & Eighty Seven and Paise Twenty Only | 52 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work (13.61.1) | BI01010001010000000000000515BI0100001168 | 408 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
53 | Providing and fixing 18mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 Cement : 4 coarse sand) with joints treated with white cement ,mixed with matching pigment, epoxy touch ups, including rubbing ,curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm (8.2.2.2) | BI01010001010000000000000515BI0100001169 | 7 | sqm | 3113.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21793.1 | 21793.1 | INR Twenty One Thousand Seven Hundred & Ninety Three and Paise Ten Only | 53 | Providing and fixing 18mm thick gang saw cut mirror polished (premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 Cement : 4 coarse sand) with joints treated with white cement ,mixed with matching pigment, epoxy touch ups, including rubbing ,curing, moulding and polishing to edge to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm (8.2.2.2) | BI01010001010000000000000515BI0100001169 | 7 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 ( thickness to be specified by the manufacturer) of approved make in all colours, shades except begundy, bottle green, black of any size as approved by Eningeer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (11.36) | BI01010001010000000000000515BI0100001170 | 644 | sqm | 744.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 479651.2 | 479651.2 | INR Four Lakh Seventy Nine Thousand Six Hundred & Fifty One and Paise Twenty Only | 54 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 ( thickness to be specified by the manufacturer) of approved make in all colours, shades except begundy, bottle green, black of any size as approved by Eningeer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (11.36) | BI01010001010000000000000515BI0100001170 | 644 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
55 | Providing and laying Ceramic glazed floor tiles 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in all colours such as White, Ivory, Grey, Fume Red Brown laid on 20mm thick bed of Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigments etc., complete. (11.37) | BI01010001010000000000000515BI0100001171 | 478 | sqm | 688.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 329031.3 | 329031.3 | INR Three Lakh Twenty Nine Thousand &Thirty One and Paise Thirty Only | 55 | Providing and laying Ceramic glazed floor tiles 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in all colours such as White, Ivory, Grey, Fume Red Brown laid on 20mm thick bed of Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigments etc., complete. (11.37) | BI01010001010000000000000515BI0100001171 | 478 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
56 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 2nd class teak wood beading 62X19 mm (9.135.1 ) | BI01010001010000000000000515BI0100001172 | 3 | sqm | 1343.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4030.65 | 4030.65 | INR Four Thousand &Thirty and Paise Sixty Five Only | 56 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 2nd class teak wood beading 62X19 mm (9.135.1 ) | BI01010001010000000000000515BI0100001172 | 3 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
57 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 each 8634.10 (19.7.1.1) | BI01010001010000000000000515BI0100001173 | 1 | Nos | 8634.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8634.1 | 8634.1 | INR Eight Thousand Six Hundred & Thirty Four and Paise Ten Only | 57 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 each 8634.10 (19.7.1.1) | BI01010001010000000000000515BI0100001173 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
58 | Carriage of Malba (approved rate) | BI01010001010000000000000515BI0100001174 | 8 | trip | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2712 | 2712 | INR Two Thousand Seven Hundred & Twelve Only | 58 | Carriage of Malba (approved rate) | BI01010001010000000000000515BI0100001174 | 8 | trip | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 2888570.66 | 2888570.66 | INR Twenty Eight Lakh Eighty Eight Thousand Five Hundred & Seventy and Paise Sixty Six Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information