## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Repair to patch plaster, mosquito net, false ceiling, painting and 3 Nos toilet works of NCC Lab in Department of Electronics Engineering, IIT (BHU), Varanasi.
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm (15.23.1) | BI01010001010000000000000515BI0100001113 | 5 | Sqm | 54.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 274.25 | 274.25 | INR Two Hundred & Seventy Four and Paise Twenty Five Only | 1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm (15.23.1) | BI01010001010000000000000515BI0100001113 | 5 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001114 | 5 | Sqm | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195 | 195 | INR One Hundred & Ninety Five Only | 2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001114 | 5 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001115 | 3 | Cum | 1737.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5212.35 | 5212.35 | INR Five Thousand Two Hundred & Twelve and Paise Thirty Five Only | 3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001115 | 3 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. (15.27) | BI01010001010000000000000515BI0100001116 | 4 | Cum | 652.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2609.2 | 2609.2 | INR Two Thousand Six Hundred & Nine and Paise Twenty Only | 4 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. (15.27) | BI01010001010000000000000515BI0100001116 | 4 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001117 | 1 | Cum | 1469.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1469.9 | 1469.9 | INR One Thousand Four Hundred & Sixty Nine and Paise Ninety Only | 5 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001117 | 1 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/ sqm).(22.3) | BI01010001010000000000000515BI0100001118 | 6 | Sqm | 705.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4234.2 | 4234.2 | INR Four Thousand Two Hundred & Thirty Four and Paise Twenty Only | 6 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/ sqm).(22.3) | BI01010001010000000000000515BI0100001118 | 6 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001119 | 401 | Sqm | 115.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46175.15 | 46175.15 | INR Forty Six Thousand One Hundred & Seventy Five and Paise Fifteen Only | 7 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001119 | 401 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001120 | 932 | Sqm | 153.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 143015.4 | 143015.4 | INR One Lakh Forty Three Thousand &Fifteen and Paise Forty Only | 8 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001120 | 932 | Sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (13.99.1) | BI01010001010000000000000515BI0100001121 | 288 | Sqm | 79.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23025.6 | 23025.6 | INR Twenty Three Thousand &Twenty Five and Paise Sixty Only | 9 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (13.99.1) | BI01010001010000000000000515BI0100001121 | 288 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | BI01010001010000000000000515BI0100001122 | 3 | Cum | 6788.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20365.8 | 20365.8 | INR Twenty Thousand Three Hundred & Sixty Five and Paise Eighty Only | 10 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | BI01010001010000000000000515BI0100001122 | 3 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | BI01010001010000000000000515BI0100001123 | 2 | Cum | 5789.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11579.2 | 11579.2 | INR Eleven Thousand Five Hundred & Seventy Nine and Paise Twenty Only | 11 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | BI01010001010000000000000515BI0100001123 | 2 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing and fixing soil, waste and vent pipes : Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) | BI01010001010000000000000515BI0100001124 | 5 | Mtr. | 1092.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5461 | 5461 | INR Five Thousand Four Hundred & Sixty One Only | 12 | Providing and fixing soil, waste and vent pipes : Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) | BI01010001010000000000000515BI0100001124 | 5 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Providing and fixing collar : Sand cast iron S&S as per IS - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001125 | 2 | Nos. | 409.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 818.9 | 818.9 | INR Eight Hundred & Eighteen and Paise Ninety Only | 13 | Providing and fixing collar : Sand cast iron S&S as per IS - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001125 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm (17.58.1) | BI01010001010000000000000515BI0100001126 | 2 | Nos. | 481.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 962.9 | 962.9 | INR Nine Hundred & Sixty Two and Paise Ninety Only | 14 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm (17.58.1) | BI01010001010000000000000515BI0100001126 | 2 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete Sand cast iron S&S as per IS - 3989(17.38.1.2) | BI01010001010000000000000515BI0100001127 | 6 | Nos. | 461.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2769.9 | 2769.9 | INR Two Thousand Seven Hundred & Sixty Nine and Paise Ninety Only | 15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete Sand cast iron S&S as per IS - 3989(17.38.1.2) | BI01010001010000000000000515BI0100001127 | 6 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Providing and fixing plain bend of required degree. Sand cast iron S&S as per IS : 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001128 | 6 | Nos. | 390.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2344.5 | 2344.5 | INR Two Thousand Three Hundred & Forty Four and Paise Fifty Only | 16 | Providing and fixing plain bend of required degree. Sand cast iron S&S as per IS : 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001128 | 6 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Providing and fixing double equal plain junction of required degree. 100x100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.42.1.2) | BI01010001010000000000000515BI0100001129 | 1 | Nos. | 865.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 865.7 | 865.7 | INR Eight Hundred & Sixty Five and Paise Seventy Only | 17 | Providing and fixing double equal plain junction of required degree. 100x100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.42.1.2) | BI01010001010000000000000515BI0100001129 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.43.1.2) | BI01010001010000000000000515BI0100001130 | 1 | Nos. | 722.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 722.55 | 722.55 | INR Seven Hundred & Twenty Two and Paise Fifty Five Only | 18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.43.1.2) | BI01010001010000000000000515BI0100001130 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001131 | 1 | Nos. | 667.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 667.7 | 667.7 | INR Six Hundred & Sixty Seven and Paise Seventy Only | 19 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001131 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001132 | 3 | Nos. | 1273.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3819.15 | 3819.15 | INR Three Thousand Eight Hundred & Nineteen and Paise Fifteen Only | 20 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001132 | 3 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) | BI01010001010000000000000515BI0100001133 | 4 | Nos. | 44.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 178.4 | 178.4 | INR One Hundred & Seventy Eight and Paise Forty Only | 21 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) | BI01010001010000000000000515BI0100001133 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : 100 mm (17.59.1) | BI01010001010000000000000515BI0100001134 | 10 | Nos. | 126.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1265 | 1265 | INR One Thousand Two Hundred & Sixty Five Only | 22 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : 100 mm (17.59.1) | BI01010001010000000000000515BI0100001134 | 10 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) | BI01010001010000000000000515BI0100001135 | 4 | Nos. | 5421.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21686 | 21686 | INR Twenty One Thousand Six Hundred & Eighty Six Only | 23 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) | BI01010001010000000000000515BI0100001135 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001136 | 1 | Nos | 5260.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5260.95 | 5260.95 | INR Five Thousand Two Hundred & Sixty and Paise Ninety Five Only | 24 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001136 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001137 | 4 | Nos | 2751.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11005.2 | 11005.2 | INR Eleven Thousand &Five and Paise Twenty Only | 25 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001137 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001138 | 3 | Nos | 87.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 263.1 | 263.1 | INR Two Hundred & Sixty Three and Paise Ten Only | 26 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001138 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm (17.32.2) | BI01010001010000000000000515BI0100001139 | 1 | Nos | 1120.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1120.25 | 1120.25 | INR One Thousand One Hundred & Twenty and Paise Twenty Five Only | 27 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm (17.32.2) | BI01010001010000000000000515BI0100001139 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) | BI01010001010000000000000515BI0100001140 | 1 | Nos | 9360.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9360.6 | 9360.6 | INR Nine Thousand Three Hundred & Sixty and Paise Sixty Only | 28 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) | BI01010001010000000000000515BI0100001140 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Range of two half stall urinals with 5 litre P.V.C. automatic flushing cistern (17.5.2) | BI01010001010000000000000515BI0100001141 | 1 | Nos | 14020.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14020.75 | 14020.75 | INR Fourteen Thousand &Twenty and Paise Seventy Five Only | 29 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : Range of two half stall urinals with 5 litre P.V.C. automatic flushing cistern (17.5.2) | BI01010001010000000000000515BI0100001141 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001142 | 3 | Nos | 623.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1870.5 | 1870.5 | INR One Thousand Eight Hundred & Seventy and Paise Fifty Only | 30 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001142 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001143 | 2 | Sqm | 932.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1864.2 | 1864.2 | INR One Thousand Eight Hundred & Sixty Four and Paise Twenty Only | 31 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001143 | 2 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001144 | 21 | Mtrs | 284.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5982.9 | 5982.9 | INR Five Thousand Nine Hundred & Eighty Two and Paise Ninety Only | 32 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001144 | 21 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 25 mm dia nominal bore (18.10.3) | BI01010001010000000000000515BI0100001145 | 8 | Mtrs | 438 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3504 | 3504 | INR Three Thousand Five Hundred & Four Only | 33 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 25 mm dia nominal bore (18.10.3) | BI01010001010000000000000515BI0100001145 | 8 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001146 | 2 | Nos | 418.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 837.9 | 837.9 | INR Eight Hundred & Thirty Seven and Paise Ninety Only | 34 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001146 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001147 | 3 | Nos | 606.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1818.75 | 1818.75 | INR One Thousand Eight Hundred & Eighteen and Paise Seventy Five Only | 35 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001147 | 3 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | BI01010001010000000000000515BI0100001148 | 4 | Nos | 111.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 447 | 447 | INR Four Hundred & Forty Seven Only | 36 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | BI01010001010000000000000515BI0100001148 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
37 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore (18.13.1) | BI01010001010000000000000515BI0100001149 | 4 | Nos | 673.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2693.8 | 2693.8 | INR Two Thousand Six Hundred & Ninety Three and Paise Eighty Only | 37 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore (18.13.1) | BI01010001010000000000000515BI0100001149 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : 25 mm diameter pipe (18.38.3) | BI01010001010000000000000515BI0100001150 | 5 | Mtrs | 23.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 118.5 | 118.5 | INR One Hundred & Eighteen and Paise Fifty Only | 38 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : 25 mm diameter pipe (18.38.3) | BI01010001010000000000000515BI0100001150 | 5 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
39 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade (8.10.2) | BI01010001010000000000000515BI0100001151 | 2 | Sqm | 3216.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6433.8 | 6433.8 | INR Six Thousand Four Hundred & Thirty Three and Paise Eighty Only | 39 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. Granite Stone of approved shade (8.10.2) | BI01010001010000000000000515BI0100001151 | 2 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
40 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (8.31) | BI01010001010000000000000515BI0100001152 | 8 | Sqm | 1030.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8242.4 | 8242.4 | INR Eight Thousand Two Hundred & Forty Two and Paise Forty Only | 40 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (8.31) | BI01010001010000000000000515BI0100001152 | 8 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
41 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | BI01010001010000000000000515BI0100001153 | 6 | Sqm | 926.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5561.4 | 5561.4 | INR Five Thousand Five Hundred & Sixty One and Paise Forty Only | 41 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | BI01010001010000000000000515BI0100001153 | 6 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001154 | 23 | Kg | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3013 | 3013 | INR Three Thousand &Thirteen Only | 42 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001154 | 23 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
43 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001155 | 4 | Sqm | 2756.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11025.4 | 11025.4 | INR Eleven Thousand &Twenty Five and Paise Forty Only | 43 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001155 | 4 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
44 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001156 | 4 | Sqm | 177.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 708.6 | 708.6 | INR Seven Hundred & Eight and Paise Sixty Only | 44 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001156 | 4 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
45 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001157 | 18 | Kg | 423.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7631.1 | 7631.1 | INR Seven Thousand Six Hundred & Thirty One and Paise Ten Only | 45 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001157 | 18 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
46 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001158 | 5 | Nos | 59.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298.25 | 298.25 | INR Two Hundred & Ninety Eight and Paise Twenty Five Only | 46 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001158 | 5 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001159 | 1 | Nos | 103.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103.55 | 103.55 | INR One Hundred & Three and Paise Fifty Five Only | 47 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001159 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
48 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001160 | 1 | Nos | 231.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 231.7 | 231.7 | INR Two Hundred & Thirty One and Paise Seventy Only | 48 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001160 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work (13.61.1) | BI01010001010000000000000515BI0100001161 | 8 | Sqm | 121.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 972.4 | 972.4 | INR Nine Hundred & Seventy Two and Paise Forty Only | 49 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work (13.61.1) | BI01010001010000000000000515BI0100001161 | 8 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
50 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001162 | 42 | Kg | 101.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4273.5 | 4273.5 | INR Four Thousand Two Hundred & Seventy Three and Paise Fifty Only | 50 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001162 | 42 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001163 | 2 | Nos | 116.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 233.6 | 233.6 | INR Two Hundred & Thirty Three and Paise Sixty Only | 51 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001163 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
52 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001164 | 2 | Nos | 257.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 514.3 | 514.3 | INR Five Hundred & Fourteen and Paise Thirty Only | 52 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001164 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
53 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) (13.4.1) | BI01010001010000000000000515BI0100001165 | 16 | Sqm | 276.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4418.4 | 4418.4 | INR Four Thousand Four Hundred & Eighteen and Paise Forty Only | 53 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) (13.4.1) | BI01010001010000000000000515BI0100001165 | 16 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) ( 13.46.1 ) | BI01010001010000000000000515BI0100001166 | 28 | Sqm | 164.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4611.6 | 4611.6 | INR Four Thousand Six Hundred & Eleven and Paise Sixty Only | 54 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) ( 13.46.1 ) | BI01010001010000000000000515BI0100001166 | 28 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
55 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade. Area of slab over 0.50 sqm (8.2.2.2) | BI01010001010000000000000515BI0100001167 | 6 | Sqm | 4007.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24045.9 | 24045.9 | INR Twenty Four Thousand &Forty Five and Paise Ninety Only | 55 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade. Area of slab over 0.50 sqm (8.2.2.2) | BI01010001010000000000000515BI0100001167 | 6 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
56 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work (8.3.2) | BI01010001010000000000000515BI0100001168 | 8 | Mtr. | 376.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3010 | 3010 | INR Three Thousand &Ten Only | 56 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work (8.3.2) | BI01010001010000000000000515BI0100001168 | 8 | Mtr. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
57 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. (8.6) | BI01010001010000000000000515BI0100001169 | 2 | sqm | 368 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 736 | 736 | INR Seven Hundred & Thirty Six Only | 57 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. (8.6) | BI01010001010000000000000515BI0100001169 | 2 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
58 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) (14.1.1) | BI01010001010000000000000515BI0100001170 | 50 | sqm | 417.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20890 | 20890 | INR Twenty Thousand Eight Hundred & Ninety Only | 58 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) (14.1.1) | BI01010001010000000000000515BI0100001170 | 50 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
59 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows(Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading(9.7.8) | BI01010001010000000000000515BI0100001171 | 14 | sqm | 1458.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20420.4 | 20420.4 | INR Twenty Thousand Four Hundred & Twenty and Paise Forty Only | 59 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows(Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading(9.7.8) | BI01010001010000000000000515BI0100001171 | 14 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
60 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin- charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. sqm 257.95 Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. (14.72) | BI01010001010000000000000515BI0100001172 | 75 | sqm | 257.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19346.25 | 19346.25 | INR Nineteen Thousand Three Hundred & Forty Six and Paise Twenty Five Only | 60 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin- charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. sqm 257.95 Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. (14.72) | BI01010001010000000000000515BI0100001172 | 75 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
61 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles.(26.22.1) | BI01010001010000000000000515BI0100001173 | 126 | Sqm | 1688.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 212788.8 | 212788.8 | INR Two Lakh Twelve Thousand Seven Hundred & Eighty Eight and Paise Eighty Only | 61 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles.(26.22.1) | BI01010001010000000000000515BI0100001173 | 126 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
62 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete.(13.91) | BI01010001010000000000000515BI0100001174 | 1079 | Sqm | 18.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19691.75 | 19691.75 | INR Nineteen Thousand Six Hundred & Ninety One and Paise Seventy Five Only | 62 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete.(13.91) | BI01010001010000000000000515BI0100001174 | 1079 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
63 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) (13.46.1) | BI01010001010000000000000515BI0100001175 | 659 | sqm | 164.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 108537.3 | 108537.3 | INR One Lakh Eight Thousand Five Hundred & Thirty Seven and Paise Thirty Only | 63 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) (13.46.1) | BI01010001010000000000000515BI0100001175 | 659 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
64 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001176 | 1 | Cum | 1737.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1737.45 | 1737.45 | INR One Thousand Seven Hundred & Thirty Seven and Paise Forty Five Only | 64 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001176 | 1 | Cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
65 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For vertical surface two coats @ 0.70 kg per sqm ( 22.23.1) | BI01010001010000000000000515BI0100001177 | 24 | Sqm | 484.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11626.8 | 11626.8 | INR Eleven Thousand Six Hundred & Twenty Six and Paise Eighty Only | 65 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. For vertical surface two coats @ 0.70 kg per sqm ( 22.23.1) | BI01010001010000000000000515BI0100001177 | 24 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
66 | For horizontal surface one coat @1.10 kg per sqm. (22.23.2) | BI01010001010000000000000515BI0100001178 | 16 | Sqm | 373.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5974.4 | 5974.4 | INR Five Thousand Nine Hundred & Seventy Four and Paise Forty Only | 66 | For horizontal surface one coat @1.10 kg per sqm. (22.23.2) | BI01010001010000000000000515BI0100001178 | 16 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
67 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. ( 6.8 ) | BI01010001010000000000000515BI0100001179 | 7 | Sqm | 749.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5248.25 | 5248.25 | INR Five Thousand Two Hundred & Forty Eight and Paise Twenty Five Only | 67 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. ( 6.8 ) | BI01010001010000000000000515BI0100001179 | 7 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
68 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) ( 13.5.2 ) | BI01010001010000000000000515BI0100001180 | 28 | sqm | 303.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8509.2 | 8509.2 | INR Eight Thousand Five Hundred & Nine and Paise Twenty Only | 68 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) ( 13.5.2 ) | BI01010001010000000000000515BI0100001180 | 28 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
69 | Neat cement punning. ( 13.18 ) | BI01010001010000000000000515BI0100001181 | 88 | sqm | 62.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5522 | 5522 | INR Five Thousand Five Hundred & Twenty Two Only | 69 | Neat cement punning. ( 13.18 ) | BI01010001010000000000000515BI0100001181 | 88 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
70 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved.(15.60) | BI01010001010000000000000515BI0100001182 | 7 | Cum | 138.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 971.95 | 971.95 | INR Nine Hundred & Seventy One and Paise Ninety Five Only | 70 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved.(15.60) | BI01010001010000000000000515BI0100001182 | 7 | Cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 887215.6 | 887215.6 | INR Eight Lakh Eighty Seven Thousand Two Hundred & Fifteen and Paise Sixty Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information