## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Electrical Supply and laying of power cable for under ground of overhead line and feed the power supply in various office/lab/workshop with supply, Installation ,testing & Commissioning (SITC) of outdoor CPRI certified cubical Feeder pillar in the front IWD office IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. mm (35 mm) | BI01010001010000000000000515BI0100001114 | 4 | Nos. | 329 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1316 | 1316 | INR One Thousand Three Hundred & Sixteen Only | 1.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. mm (35 mm) | BI01010001010000000000000515BI0100001114 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | 3½ X 70 sq. mm (38 mm) | BI01010001010000000000000515BI0100001115 | 4 | Nos. | 368 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1472 | 1472 | INR One Thousand Four Hundred & Seventy Two Only | 1.2 | 3½ X 70 sq. mm (38 mm) | BI01010001010000000000000515BI0100001115 | 4 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.3 | 3½ X 95 sq. mm (40 mm) | BI01010001010000000000000515BI0100001116 | 4 | Nos. | 473 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1892 | 1892 | INR One Thousand Eight Hundred & Ninety Two Only | 1.3 | 3½ X 95 sq. mm (40 mm) | BI01010001010000000000000515BI0100001116 | 4 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.4 | 3½ X 185 sq. mm (40 mm) | BI01010001010000000000000515BI0100001117 | 4 | Nos. | 702 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2808 | 2808 | INR Two Thousand Eight Hundred & Eight Only | 1.4 | 3½ X 185 sq. mm (40 mm) | BI01010001010000000000000515BI0100001117 | 4 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 100 mm dia | BI01010001010000000000000515BI0100001119 | 15 | Mtr | 1113 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16695 | 16695 | INR Sixteen Thousand Six Hundred & Ninety Five Only | 2.1 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 100 mm dia | BI01010001010000000000000515BI0100001119 | 15 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 50 mm dia | BI01010001010000000000000515BI0100001120 | 15 | Mtr | 536 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8040 | 8040 | INR Eight Thousand &Forty Only | 2.2 | 50 mm dia | BI01010001010000000000000515BI0100001120 | 15 | Mtr | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.1 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm. | BI01010001010000000000000515BI0100001122 | 40 | Metre | 31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1240 | 1240 | INR One Thousand Two Hundred & Forty Only | 3.1 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm. | BI01010001010000000000000515BI0100001122 | 40 | Metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001123 | 248 | Metre | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11656 | 11656 | INR Eleven Thousand Six Hundred & Fifty Six Only | 3.2 | Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001123 | 248 | Metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.3 | Above 95 sq. mm and upto 185 sq. mm | BI01010001010000000000000515BI0100001124 | 260 | Metre | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47060 | 47060 | INR Forty Seven Thousand &Sixty Only | 3.3 | Above 95 sq. mm and upto 185 sq. mm | BI01010001010000000000000515BI0100001124 | 260 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001125 | 1 | Nos. | 5308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5308 | 5308 | INR Five Thousand Three Hundred & Eight Only | 4 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001125 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001126 | 10 | Mtr | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1310 | 1310 | INR One Thousand Three Hundred & Ten Only | 5 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001126 | 10 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.1 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI 3.5 core 50 sq. mm | BI01010001010000000000000515BI0100001128 | 70 | Mtr | 605 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42350 | 42350 | INR Forty Two Thousand Three Hundred & Fifty Only | 6.1 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI 3.5 core 50 sq. mm | BI01010001010000000000000515BI0100001128 | 70 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
6.2 | 3.5 core 70 sq. mm | BI01010001010000000000000515BI0100001129 | 130 | Mtr | 818 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 106340 | 106340 | INR One Lakh Six Thousand Three Hundred & Forty Only | 6.2 | 3.5 core 70 sq. mm | BI01010001010000000000000515BI0100001129 | 130 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
6.3 | 3.5 core 90 sq. mm | BI01010001010000000000000515BI0100001130 | 48 | Mtr | 937 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44976 | 44976 | INR Forty Four Thousand Nine Hundred & Seventy Six Only | 6.3 | 3.5 core 90 sq. mm | BI01010001010000000000000515BI0100001130 | 48 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
6.4 | 3.5 core 185 sq. mm | BI01010001010000000000000515BI0100001131 | 260 | Mtr | 1492 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 387920 | 387920 | INR Three Lakh Eighty Seven Thousand Nine Hundred & Twenty Only | 6.4 | 3.5 core 185 sq. mm | BI01010001010000000000000515BI0100001131 | 260 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
6.5 | 4 core 10 sq. mm | BI01010001010000000000000515BI0100001132 | 40 | Mtr | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10600 | 10600 | INR Ten Thousand Six Hundred Only | 6.5 | 4 core 10 sq. mm | BI01010001010000000000000515BI0100001132 | 40 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
7 | Supply, Installation ,testing & Commisionioning (SITC) of outdoor CPRI certified cubical Feeder pilar with EC grade Al busbar capacity 630Amp. 100% netural suitable >25ka for 3 sec for fault level ,compatiable for following incomming & outgoing . Custum built self fabricated out of 16SWG , CRCA sheet Foot mounted type Panel Furnished with siemen gray shade powder coated paint after necessary pre treatment fully dust & vermin proof, Copper wire ,Lugs and Netural & Insulating Material Engineering and Labor Charges , Panle size (H-W-D)mm. Details as Incoming-SFU400 Amp. 2 nos. & 6 nos-HRC fuse, Incomer All Busbar capacity 400Amp. Phase indicating light shall be protected by 2 amps MCB‟s. - 3 Sets Outgoing Deatils TP MCCB-250 Amp. 2 Nos, TP MCCB-2 Nos 160 Amp. and MCCB 100 Amp.-1 Nos (Range 40A -630A , Protaction against overload, and short circuit) , 0-24 hours timer auto / manual by pass selector switches Cubicle Type 1 nos. Note-MCCB Make Legrand, L& T Simenice etc. | BI01010001010000000000000515BI0100001133 | 1 | Nos. | 382514 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 382514 | 382514 | INR Three Lakh Eighty Two Thousand Five Hundred & Fourteen Only | 7 | Supply, Installation ,testing & Commisionioning (SITC) of outdoor CPRI certified cubical Feeder pilar with EC grade Al busbar capacity 630Amp. 100% netural suitable >25ka for 3 sec for fault level ,compatiable for following incomming & outgoing . Custum built self fabricated out of 16SWG , CRCA sheet Foot mounted type Panel Furnished with siemen gray shade powder coated paint after necessary pre treatment fully dust & vermin proof, Copper wire ,Lugs and Netural & Insulating Material Engineering and Labor Charges , Panle size (H-W-D)mm. Details as Incoming-SFU400 Amp. 2 nos. & 6 nos-HRC fuse, Incomer All Busbar capacity 400Amp. Phase indicating light shall be protected by 2 amps MCB‟s. - 3 Sets Outgoing Deatils TP MCCB-250 Amp. 2 Nos, TP MCCB-2 Nos 160 Amp. and MCCB 100 Amp.-1 Nos (Range 40A -630A , Protaction against overload, and short circuit) , 0-24 hours timer auto / manual by pass selector switches Cubicle Type 1 nos. Note-MCCB Make Legrand, L& T Simenice etc. | BI01010001010000000000000515BI0100001133 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
8 | Dismantling of pole/ street light standard/ strut embedded in brick ballast foundation etc. as required. | BI01010001010000000000000515BI0100001134 | 3 | Nos. | 1671 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5013 | 5013 | INR Five Thousand &Thirteen Only | 8 | Dismantling of pole/ street light standard/ strut embedded in brick ballast foundation etc. as required. | BI01010001010000000000000515BI0100001134 | 3 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 1078510 | 1078510 | INR Ten Lakh Seventy Eight Thousand Five Hundred & Ten Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information