## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Shifting of overheadline with shifting and layng of power cable in varius department in IIT (BHU) (Chief proctor Road )
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Dismantling of pole/ street light standard/ strut embedded in brick ballast foundation etc. as required. | BI01010001010000000000000515BI0100001113 | 9 | Nos. | 1671 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15039 | 15039 | INR Fifteen Thousand &Thirty Nine Only | 1 | Dismantling of pole/ street light standard/ strut embedded in brick ballast foundation etc. as required. | BI01010001010000000000000515BI0100001113 | 9 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. mm (35 mm) | BI01010001010000000000000515BI0100001115 | 4 | Nos. | 329 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1316 | 1316 | INR One Thousand Three Hundred & Sixteen Only | 2.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. mm (35 mm) | BI01010001010000000000000515BI0100001115 | 4 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 3½ X 70 sq. mm (38 mm) | BI01010001010000000000000515BI0100001116 | 2 | Nos. | 368 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 736 | 736 | INR Seven Hundred & Thirty Six Only | 2.2 | 3½ X 70 sq. mm (38 mm) | BI01010001010000000000000515BI0100001116 | 2 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.3 | 3½ X 95 sq. mm (40 mm) | BI01010001010000000000000515BI0100001117 | 4 | Nos. | 473 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1892 | 1892 | INR One Thousand Eight Hundred & Ninety Two Only | 2.3 | 3½ X 95 sq. mm (40 mm) | BI01010001010000000000000515BI0100001117 | 4 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 100 mm dia | BI01010001010000000000000515BI0100001119 | 15 | Mtr | 1113 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16695 | 16695 | INR Sixteen Thousand Six Hundred & Ninety Five Only | 3.1 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 100 mm dia | BI01010001010000000000000515BI0100001119 | 15 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.2 | 80 mm dia | BI01010001010000000000000515BI0100001120 | 6 | Mtr | 803 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4818 | 4818 | INR Four Thousand Eight Hundred & Eighteen Only | 3.2 | 80 mm dia | BI01010001010000000000000515BI0100001120 | 6 | Mtr | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001122 | 150 | Metre | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7050 | 7050 | INR Seven Thousand &Fifty Only | 4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001122 | 150 | Metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size Direct in ground Including and refillinf trench etc as required Under ground Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001124 | 200 | Metre | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36200 | 36200 | INR Thirty Six Thousand Two Hundred Only | 5 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size Direct in ground Including and refillinf trench etc as required Under ground Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001124 | 200 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.1 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI 3.5 core 50 sq. mm | BI01010001010000000000000515BI0100001126 | 60 | Mtr | 605 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36300 | 36300 | INR Thirty Six Thousand Three Hundred Only | 6.1 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI 3.5 core 50 sq. mm | BI01010001010000000000000515BI0100001126 | 60 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.2 | 3.5 core 70 sq. mm | BI01010001010000000000000515BI0100001127 | 95 | Mtr | 818 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77710 | 77710 | INR Seventy Seven Thousand Seven Hundred & Ten Only | 6.2 | 3.5 core 70 sq. mm | BI01010001010000000000000515BI0100001127 | 95 | Mtr | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.3 | 3.5 core 95 sq. mm | BI01010001010000000000000515BI0100001128 | 160 | Mtr | 937 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149920 | 149920 | INR One Lakh Forty Nine Thousand Nine Hundred & Twenty Only | 6.3 | 3.5 core 95 sq. mm | BI01010001010000000000000515BI0100001128 | 160 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
7.1 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. | BI01010001010000000000000515BI0100001130 | 1 | Nos. | 3462 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3462 | 3462 | INR Three Thousand Four Hundred & Sixty Two Only | 7.1 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 50 sq. | BI01010001010000000000000515BI0100001130 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
7.2 | 3½ X 70 sq. | BI01010001010000000000000515BI0100001131 | 1 | Nos. | 3492 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3492 | 3492 | INR Three Thousand Four Hundred & Ninety Two Only | 7.2 | 3½ X 70 sq. | BI01010001010000000000000515BI0100001131 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
7.3 | 3½ X 95 sq. | BI01010001010000000000000515BI0100001132 | 1 | Nos. | 4126 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4126 | 4126 | INR Four Thousand One Hundred & Twenty Six Only | 7.3 | 3½ X 95 sq. | BI01010001010000000000000515BI0100001132 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 358756 | 358756 | INR Three Lakh Fifty Eight Thousand Seven Hundred & Fifty Six Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information