## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Estimate for Supply, Installation of Electric panel with power cable to energize the ductable Acs Installed on the Ground Floor of Shreenivas Deshpande Library , IIT(BHU)
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 150 sq. mm (35 mm) | BI01010001010000000000000515BI0100001114 | 4 | Nos. | 555 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2220 | 2220 | INR Two Thousand Two Hundred & Twenty Only | 1.1 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 150 sq. mm (35 mm) | BI01010001010000000000000515BI0100001114 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | 3½ X 50 sq. mm (35 mm) | BI01010001010000000000000515BI0100001115 | 8 | Nos. | 329 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2632 | 2632 | INR Two Thousand Six Hundred & Thirty Two Only | 1.2 | 3½ X 50 sq. mm (35 mm) | BI01010001010000000000000515BI0100001115 | 8 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 95 sq. mm and upto 185 sq. mm | BI01010001010000000000000515BI0100001117 | 20 | Metre | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 940 | 940 | INR Nine Hundred & Forty Only | 2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 95 sq. mm and upto 185 sq. mm | BI01010001010000000000000515BI0100001117 | 20 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the direct in ground including excavation and refilling the etc as required including sand ,cushing and existing as required. Above 95 sq. mm and upto 185 sq. mm | BI01010001010000000000000515BI0100001119 | 210 | Metre | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38010 | 38010 | INR Thirty Eight Thousand &Ten Only | 3.1 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the direct in ground including excavation and refilling the etc as required including sand ,cushing and existing as required. Above 95 sq. mm and upto 185 sq. mm | BI01010001010000000000000515BI0100001119 | 210 | Metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.2 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI, 3.5 core 150 sq. mm | BI01010001010000000000000515BI0100001121 | 230 | Mtr | 1228 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 282440 | 282440 | INR Two Lakh Eighty Two Thousand Four Hundred & Forty Only | 3.2 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI, 3.5 core 150 sq. mm | BI01010001010000000000000515BI0100001121 | 230 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001122 | 1 | Nos. | 5308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5308 | 5308 | INR Five Thousand Three Hundred & Eight Only | 4 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt) as required | BI01010001010000000000000515BI0100001122 | 1 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001123 | 15 | Mtr | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1965 | 1965 | INR One Thousand Nine Hundred & Sixty Five Only | 5 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | BI01010001010000000000000515BI0100001123 | 15 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supply ,Construction , plaster & Masionary work of 1 Nos pedestal fondation size 800mmX1600mmX400mm (or as per feedr for mounting of Pannel as per sr.no 8 | BI01010001010000000000000515BI0100001124 | 1 | Job | 5000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5000 | 5000 | INR Five Thousand Only | 6 | Supply ,Construction , plaster & Masionary work of 1 Nos pedestal fondation size 800mmX1600mmX400mm (or as per feedr for mounting of Pannel as per sr.no 8 | BI01010001010000000000000515BI0100001124 | 1 | Job | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 100 mm dia | BI01010001010000000000000515BI0100001126 | 5 | Mtr | 1113 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5565 | 5565 | INR Five Thousand Five Hundred & Sixty Five Only | 7 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required 100 mm dia | BI01010001010000000000000515BI0100001126 | 5 | Mtr | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supply, Installation ,testing & Commisionioning (SITC) of Indoor CPRI certified cubical Panel with EC grade Al busbar capacity 400Amp. 100% netural suitable >25ka for 3 sec for fault level ,compatiable for following incomming & outgoing . Custum built self fabricated out of 16SWG , CRCA sheet Foot mounted type Panel Furnished with siemen gray shade powder coated paint after necessary pre treatment fully dust & vermin proof, Copper wire ,Lugs and Netural & Insulating Material Engineering and Labor Charges , Panle size (H-W-D)mm. Details as Incoming-SFU315 Amp. 1-nos. &3 nos-HRC fuse, Incomer All Busbar capacity 400Amp. Phase indicating light shall be protected by 2 amps MCB‟s. - 3 Sets Outgoing Deatils TP MCCB-200 Amp. 2 Nos, TP MCCB-2 Nos 160 Amp. Phase indicating light shall be proected by 2 amps MCB's - 3 Set , Breaker ON / OFF / TRIP indicating lights with control MCB's - 1 set Make Legrand, L& T Simenice etc. | BI01010001010000000000000515BI0100001127 | 1 | Nos. | 225000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 225000 | 225000 | INR Two Lakh Twenty Five Thousand Only | 8 | Supply, Installation ,testing & Commisionioning (SITC) of Indoor CPRI certified cubical Panel with EC grade Al busbar capacity 400Amp. 100% netural suitable >25ka for 3 sec for fault level ,compatiable for following incomming & outgoing . Custum built self fabricated out of 16SWG , CRCA sheet Foot mounted type Panel Furnished with siemen gray shade powder coated paint after necessary pre treatment fully dust & vermin proof, Copper wire ,Lugs and Netural & Insulating Material Engineering and Labor Charges , Panle size (H-W-D)mm. Details as Incoming-SFU315 Amp. 1-nos. &3 nos-HRC fuse, Incomer All Busbar capacity 400Amp. Phase indicating light shall be protected by 2 amps MCB‟s. - 3 Sets Outgoing Deatils TP MCCB-200 Amp. 2 Nos, TP MCCB-2 Nos 160 Amp. Phase indicating light shall be proected by 2 amps MCB's - 3 Set , Breaker ON / OFF / TRIP indicating lights with control MCB's - 1 set Make Legrand, L& T Simenice etc. | BI01010001010000000000000515BI0100001127 | 1 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 569080 | 569080 | INR Five Lakh Sixty Nine Thousand &Eighty Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information