## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: BOQ for Electrical installation, wiring, illumination, power point, light & fan point works after rennovation works in the various rooms & corridor in the Metallurgical Engg Department IIT(BHU).
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group C | BI01010001010000000000000515BI0100001114 | 55 | Points | 1053 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group C | BI01010001010000000000000515BI0100001114 | 55 | Points | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 209 | Mtrs | 177 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 209 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 230 | Mtrs | 213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 230 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 110 | Mtrs | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 110 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 5 | Mtrs | 419 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.4 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001119 | 5 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.5 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 35 | Mtrs | 577 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.5 | 4 X 10sq. mm + 2 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001120 | 35 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001121 | 25 | Nos | 526 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required.Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001121 | 25 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess,including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. (For light plugs to be used in non residential buildings). | BI01010001010000000000000515BI0100001122 | 58 | Nos | 619 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess,including providng and fixing 2 nos. 3 pin 5/6 A modular socket outlet and 2 nos. 5/6 A modular switch, connections etc. as required. (For light plugs to be used in non residential buildings). | BI01010001010000000000000515BI0100001122 | 58 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make- L & T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001123 | 9 | Nos | 679 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make- L & T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001123 | 9 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. 125 A,36KA,FPMCCB | BI01010001010000000000000515BI0100001125 | 1 | Nos | 7979 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. 125 A,36KA,FPMCCB | BI01010001010000000000000515BI0100001125 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) Make- L& T/ABB/LEGRAND /INDOASEAN 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001127 | 1 | Nos | 4892 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) Make- L& T/ABB/LEGRAND /INDOASEAN 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001127 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCCB TPDB is normally used where 3 phase outlets are required.) Make- L & T/ABB/LEGRAND /INDOASEAN 8 way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001129 | 1 | Nos | 8234 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCCB TPDB is normally used where 3 phase outlets are required.) Make- L & T/ABB/LEGRAND /INDOASEAN 8 way (4 + 24), Double door Make- L& T/ABB/LEGRAND /INDOASEAN | BI01010001010000000000000515BI0100001129 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Schneider Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001130 | 45 | Nos | 212 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.1 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Schneider Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001130 | 45 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9.2 | Double Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001131 | 1 | Nos | 591 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.2 | Double Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001131 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9.3 | Triple Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001132 | 1 | Nos | 878 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.3 | Triple Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001132 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9.4 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001133 | 1 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.4 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001133 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9.5 | 2 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001134 | 1 | Nos | 570 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.5 | 2 Way Enclosure Metal Box | BI01010001010000000000000515BI0100001134 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
10 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | BI01010001010000000000000515BI0100001136 | 1 | Nos | 4288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | BI01010001010000000000000515BI0100001136 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
11 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | BI01010001010000000000000515BI0100001137 | 25 | Mtr. | 139 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | BI01010001010000000000000515BI0100001137 | 25 | Mtr. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
12 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required 100 mm dia | BI01010001010000000000000515BI0100001138 | 3 | Mtr. | 1183 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required 100 mm dia | BI01010001010000000000000515BI0100001138 | 3 | Mtr. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Providing,installation, fixing,Connecting and Testing of LED Batten,4 Feet,20W, as per site requirment. (Make: Wipro/ Philipse/CG/Polycab/ ) | BI01010001010000000000000515BI0100001139 | 40 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13 | Providing,installation, fixing,Connecting and Testing of LED Batten,4 Feet,20W, as per site requirment. (Make: Wipro/ Philipse/CG/Polycab/ ) | BI01010001010000000000000515BI0100001139 | 40 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001141 | 2 | Nos | 3200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001141 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed). (Make: Usha / Crompton / Orient) | BI01010001010000000000000515BI0100001142 | 9 | Nos | 2450 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed). (Make: Usha / Crompton / Orient) | BI01010001010000000000000515BI0100001142 | 9 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001143 | 15 | Nos | 288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 16 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001143 | 15 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001144 | 1 | Nos | 2452 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Supplying and fixing of 230VAC 1Ph.300 mm ,900 rpm Wall Fan Make: Usha / Crompton / Orient | BI01010001010000000000000515BI0100001144 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Supplying,Cutting of huck , painting and fixing of MS Down rod conduit pipe for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001145 | 9 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18 | Supplying,Cutting of huck , painting and fixing of MS Down rod conduit pipe for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001145 | 9 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Supply and laying of 3.5CX95 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required | BI01010001010000000000000515BI0100001146 | 48 | Mtr. | 937 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19 | Supply and laying of 3.5CX95 Sqmm Armoured Aluminium Cable 650/1100V grade as per IS 7098(Part 1) 1988 ,PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size, Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required | BI01010001010000000000000515BI0100001146 | 48 | Mtr. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information