## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Estimate for Electrical installation, illuminations and wiring for development of Carpentry Shop of Main Workshop building establishment of DRDO Industry Academia-Centre of Excellence (DIA-COE) IIT(BHU), Varanasi
Contract No: IIT(BHU)/IWD/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0.1 | xx | BI01010001010000000000000515BI0100001112 | [52 empty] | 0.1 | xx | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001114 | 44 | Points | 990 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43560 | 43560 | INR Forty Three Thousand Five Hundred & Sixty Only | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell pointwith 1.5 sq.mm FRLS PVC insulated copper conductor singlecore cable in surface / recessed medium class PVC conduit,with modular switch, modular plate, suitable GI box and earthingthe point with 1.5 sq.mm FRLS PVC insulated copper conductorsingle core cable etc. as required. Group C | BI01010001010000000000000515BI0100001114 | 44 | Points | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 90 | Mtrs | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15030 | 15030 | INR Fifteen Thousand &Thirty Only | 2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, singlecore cable in surface/ recessed medium class PVC conduit as required. Make-L&T/Finolex/Polycab 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | BI01010001010000000000000515BI0100001116 | 90 | Mtrs | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 150 | Mtrs | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30000 | 30000 | INR Thirty Thousand Only | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | BI01010001010000000000000515BI0100001117 | 150 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 92 | Mtrs | 249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22908 | 22908 | INR Twenty Two Thousand Nine Hundred & Eight Only | 2.3 | 2 X6sq. mm + 1 X 6 sq. mm earth wire | BI01010001010000000000000515BI0100001118 | 92 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001119 | 20 | Nos | 401 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8020 | 8020 | INR Eight Thousand &Twenty Only | 3 | Supplying and fixing suitable size GI/PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required | BI01010001010000000000000515BI0100001119 | 20 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001120 | 20 | Nos | 495 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9900 | 9900 | INR Nine Thousand Nine Hundred Only | 4 | Supplying and fixing suitable size GI box with modular plateand cover in front on surface or in recess, including providingand fixing 6 pin 5/6 A & 15/16 A modular socket outlet and15/16 A modular switch, connections etc. as required.Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001120 | 20 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001121 | 1 | Nos | 5651 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5651 | 5651 | INR Five Thousand Six Hundred & Fifty One Only | 5 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 8 way (4 + 24), Double door | BI01010001010000000000000515BI0100001121 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001122 | 20 | Nos | 199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3980 | 3980 | INR Three Thousand Nine Hundred & Eighty Only | 6 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider | BI01010001010000000000000515BI0100001122 | 20 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 125Amp. 36KA Amp,MCCBS Conforms to IS/IEC-60947-2 Make-L&T/ABB/Indoasian | BI01010001010000000000000515BI0100001123 | 1 | Nos | 7504 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7504 | 7504 | INR Seven Thousand Five Hundred & Four Only | 7 | 125Amp. 36KA Amp,MCCBS Conforms to IS/IEC-60947-2 Make-L&T/ABB/Indoasian | BI01010001010000000000000515BI0100001123 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001124 | 4 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1660 | 1660 | INR One Thousand Six Hundred & Sixty Only | 8 | Supplying ,fixing Connecting & Testing ,20W LED batten Make-Philipse/Syska/Wipro/CG | BI01010001010000000000000515BI0100001124 | 4 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001125 | 26 | Nos | 3850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100100 | 100100 | INR One Lakh One Hundred Only | 9 | Supply & Installation of 2X2 pure LED false ceiling Surface Light Make-Phillipse/Wipro/CG/Polycab | BI01010001010000000000000515BI0100001125 | 26 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001126 | 3 | Nos | 3081 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9243 | 9243 | INR Nine Thousand Two Hundred & Forty Three Only | 10 | Supplying and fixing of 230VAC 1Ph.400 mm ,900 rpm Wall Fan Make-ORIENT/CG/USHA/Bajaj | BI01010001010000000000000515BI0100001126 | 3 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. ( Make: Usha / ORIENT / CG) | BI01010001010000000000000515BI0100001127 | 2 | Nos | 2450 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4900 | 4900 | INR Four Thousand Nine Hundred Only | 11 | Supplying and fixing of 230VAC 1Ph. 300 mm exhaust Fan with sweep feature. ( Make: Usha / ORIENT / CG) | BI01010001010000000000000515BI0100001127 | 2 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed) . (Make: Usha / Crompton / Bajaj ) | BI01010001010000000000000515BI0100001128 | 9 | Nos | 2450 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22050 | 22050 | INR Twenty Two Thousand &Fifty Only | 12 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed) . (Make: Usha / Crompton / Bajaj ) | BI01010001010000000000000515BI0100001128 | 9 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001129 | 9 | Nos | 342 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3078 | 3078 | INR Three Thousand &Seventy Eight Only | 13 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | BI01010001010000000000000515BI0100001129 | 9 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
14 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001130 | 9 | Nos | 550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4950 | 4950 | INR Four Thousand Nine Hundred & Fifty Only | 14 | Supplying,Cutting of huck , painting and fixing of MS Down down conduit for installation of ceiling fan upto 5 to 8 feet | BI01010001010000000000000515BI0100001130 | 9 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
15 | Supply and fixing of LED Flood light fitting having die cast aluminium body and diffuser with driver set suitable for 50 to Watt. Confirming to IP 66 and above protection complete in all respect.Make- Bajaj, Philips,C&S,Crompton& Havells. | BI01010001010000000000000515BI0100001131 | 9 | Nos | 3769 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33921 | 33921 | INR Thirty Three Thousand Nine Hundred & Twenty One Only | 15 | Supply and fixing of LED Flood light fitting having die cast aluminium body and diffuser with driver set suitable for 50 to Watt. Confirming to IP 66 and above protection complete in all respect.Make- Bajaj, Philips,C&S,Crompton& Havells. | BI01010001010000000000000515BI0100001131 | 9 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
16 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001132 | 6 | Nos | 639 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3834 | 3834 | INR Three Thousand Eight Hundred & Thirty Four Only | 16 | Supplying & fixing suitable size GI/PVC box wih modular plate and cover in front on surface or in recess including providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, “C” curve including connections, painting etc. as required. Make-L&T/LEGRAND/ABB | BI01010001010000000000000515BI0100001132 | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 70 sq. mm (38 mm) | BI01010001010000000000000515BI0100001134 | 2 | Nos. | 368 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 736 | 736 | INR Seven Hundred & Thirty Six Only | 17 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. 3½ X 70 sq. mm (38 mm) | BI01010001010000000000000515BI0100001134 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI 3.5 core 70 sq. mm | BI01010001010000000000000515BI0100001136 | 45 | Mtr | 818 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36810 | 36810 | INR Thirty Six Thousand Eight Hundred & Ten Only | 18 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. Make- Gloster,Polycab KEI 3.5 core 70 sq. mm | BI01010001010000000000000515BI0100001136 | 45 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001138 | 52 | Metre | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2444 | 2444 | INR Two Thousand Four Hundred & Forty Four Only | 19 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | BI01010001010000000000000515BI0100001138 | 52 | Metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 370279 | 370279 | INR Three Lakh Seventy Thousand Two Hundred & Seventy Nine Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information