## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver4.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL | Select | Excess (+) | Less (-) | Excess (+) | Less (-)
Tender Inviting Authority: The Superintending Engineer, IWD, IIT(BHU), Varanasi
Name of Work: Electrical Installation, wiring, Illumination, Power point, & SITC of AC Works in the Nivedita and P C Ray hostels , IIT(BHU), Varanasi.
Contract No: IIT(BHU)/IWD/ET-__/2024-25/____, Dated: ………………..
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P. | TOTAL AMOUNT With Taxes in Rs. P. | TOTAL AMOUNT in Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 2 X6sq. mm + 1 X 6 sq. mm earth wire |  | 750 | Mtrs | 454 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 340500 | 340500 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. |  | 25 | Nos. | 1209 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30225 | 30225 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supplying of following sizes one Number XLPE insulated, PVC outer sheathed, armoured with galvanized round steel wire or steel strip cables with stranded aluminium conductor suitable for rated voltage of 1.1KV grade , ISI marked conforming to IS:7098 / (Pt.I) / 1988 with amendment no. 1 of following sizes in following manner. | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.01 | 3.5 core 50 sq. mm |  | 280 | Mtr | 605 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 169400 | 169400 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCCBs and incomer ) as required . (Note : Vertical type MCCB TPDB is normally used where 3 phase outlets are required.) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | 8-way (4 + 24), Double door |  | 2 | Nos | 10517 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21034 | 21034 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make L&T/ABB/C&S/Legrand/Hagger/Schneider | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | Single Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 22 | Nos | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5830 | 5830 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.02 | Triple Pole MCB Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 6 | Nos | 1042 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6252 | 6252 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.03 | FP MCB 40/63 A Make-L&T/ABB/C&S/Legrand/Hagger/Seimens/Schneider |  | 2 | Nos | 2389 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4778 | 4778 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
6 | 125 Amp. 16KA Amp,MCCBS Conforms to IS/IEC-60947-2 Make-L&T/ABB/Indoasian |  | 2 | Nos | 8493 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16986 | 16986 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
7 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.01 | 3½ X 50 sq. mm (35 mm) |  | 4 | Nos. | 427 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1708 | 1708 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Providing,installation, fixing,Connecting and Testing of LED Batten,4 Feet,20W, as per site requirment. (Make: Wipro/ Philipse/CG/Polycab/ ) |  | 4 | Nos | 415 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1660 | 1660 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
9 | Supply , Installation, Testing and Commissioning of Air Cooled Hi Wall split type Air conditioners complete with Indoor unit(IDU), Out door unit (ODU), surface / concealed copper Refrigerant piping with insulation (closed cell elastomeric nitrile rubber tubular pipe section) upto 3 Mtr (IDU to ODU), copper power cable upto 3.5 Mtr (IDU to ODU) i/c drain pipe R-32/R-410/ R407 Green Refrigerant, wireless Remote control, suitable for working between 180-260V with low & high voltage cutoff and 50 hz ,1 phase AC supply capable of performing cooling, dehumidification, air circulation of following capacity with Scroll / rotary compressor. The system shall be able to deliver 100% of the rated capacity upto 42 Degree Celsius. Min 5 year Original Equipment Manufacturer (OEM) warranty both compressor and Printed Circuit Board (PCB). Must comply : Electrical cable IS 694 or IS 9968 temperature sensing control IS /International Electro technical Commission (IEC) 60730, hermetic compressor IS 10617, heat exchanger IS 11329, capacitor IS 2993 and motor IS 12615. Complete as per CPWD specification and IS : 1391 Part II 2023. The system shall be able to operate up to 50 0C (out door ambient temperature). Inverter Type - Cooling only Make-Blue STAR/HITACHI/Voltas/Carrier/Lloyed | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.01 | 2.0 TR with 5 Star BEE Rating |  | 25 | Nos. | 55440 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1386000 | 1386000 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supplying, Installation, Testing and Commissioning of following capacity Wall mounting Voltage stablizer voltage range 150V to 280V Single phase 50Hz. |  | 25 | Nos. | 5500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 137500 | 137500 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supply , Installation, Testing and Commissioning of Copper piping with 19/13 mm nitret Rubber Insulation all piping with Hanger and supporter as per specification a with Must comply : Electrical cable IS 694 or IS 9968 temperature sensing control IS /International Electro technical Commission (IEC) s below | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | 15.9mm with 13mm Insulation (5/8) |  | 45 | Mtr. | 2000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90000 | 90000 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Control Cable (IDU to ODU) |  | 45 | Mtr. | 390 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17550 | 17550 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Supply , Installation, Testing and Commissioning of ODU for split type Air conditioners |  | 25 | nos | 1590 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39750 | 39750 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 2269173 | 2269173 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information